## plan
Variable | Value
PatientLastName | Virt Sim
PatientFirstName | Test Plans
PatientMiddleName
PatientId | PYVirtSimTest
PatientDateOfBirth
PatientSex | Unknown
PrimaryOncologist | -
CurrentDateShort | 4
ApplicationName | External Beam Planning
TaskName | External Beam Planning
TaskVersion | 13
Hospital | CCSEO at KGH, Kingston, ON
UserId | gsal
IsPlanModified | -
IsAllMUperGyValid
Invalid If condition
CourseId | AirGap2
CourseIntent | QA
PlanId | AG30N6XF20
PlanName | AirGap 3
ApprovalStatus | Unapproved
PlanCreationDate | Wednesday, October 02, 2019 09
PlanCreator | gsal
PlanModificationDate | Friday, October 04, 2019 16
PlanModifier | gsal
ImageId | AirGapBase
ImageName | AirGap3
ImageSeriesId | AirGap
ImageModality | CT
ImagingDeviceId | GE Multislice CT
ImagingDeviceModel | LightSpeed RT16
ImagingDeviceManufacturer | GE MEDICAL SYSTEMS
ImagingDeviceSerialNumber
PatientImagingOrientation | Head First-Supine
PatientTreatmentOrientation | Head First-Supine
PlanningCoordinateSystemName | Standard
ImageUserOrigin | User origin DICOM offset =
StructureId | AirGap3
StructureName | AirGap3
PhotonAlg | AAA_10028_Golden_Beam
CalculationGridSizeInCM | 0.25
FieldNormalizationType | 100
HeterogeneityCorrection | ON
StdArcCalculationSegments | 10
VMATFluenceResolution | High
TargetVolume | -
PlanNormValue | 100
PlanNormMethod | Plan Normalization Value
PrescribedDosePercent | 100
PrimaryRefPointId | -
RelativeDoseInPrimaryRefPoint | -
Fractionations | 1
FractionationId | F1
PrescribedDose | 100
PrescribedDosePerFraction | 100
DoseInPrimaryRefPoint | -
DosePerFractionInPrimaryRefPoint | -
Fractions | 1

## fields
Plan | AG30N6XF20 | AG30N6XF202 | AG30N6XF203 | AG30N6XF204
Course | AirGap2 | AirGap2 | AirGap2 | AirGap2
Field | 20x20 6MV 0Nd | 20x20 6MV 3Nd | 20x20 6MV 6Nd | 20x20 6MV 9Nd
Field Name | Thin 0 | Thin 3 | Thin 6 | Thin 9
Linac | TR1 | TR1 | TR1 | TR1
Energy | 6 | 6 | 6 | 6
Technique | STATIC | STATIC | STATIC | STATIC
MUs | 157 | 97 | 104 | 113
Field Dose | 161.7 | 106.1 | 120.9 | 140.1
SAD | 100 | 100 | 100 | 100
Field SSD | 100 | 97 | 94 | 91
Gantry | 0 | 0 | 0 | 0
Collimator | 0 | 0 | 0 | 0
Couch | 0 | 0 | 0 | 0
Iso X | 2.5 | 2.5 | 2.5 | 2.5
Iso Y | 0 | 3.02 | 6.02 | 9.02
Iso Z | 0 | 0 | 0 | 0
Norm Factor | 100 | 100 | 100 | 100
Field Weight | 1.634 | 1.011 | 1.009 | 1.005
Warning | Dose in isocenter is too small
Field Side | Thin | Thin | Thin | Thin

## points
Field | Point | Dose | SSD | Depth | Efective Depth | Side | Plan | Course | Field Name | Energy | MUs | Field Dose | SAD | Field SSD | Iso X | Iso Y | Iso Z | Norm Factor | Field Weight | Point | X | Y | Z
20x20 6MV 0Nd | d=3cm | 154.4 | 100 | 3 | 3 | Center | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | d=3cm | 2.5 | 3 | 0
20x20 6MV 0Nd | d=6cm | 136.1 | 100 | 6 | 6 | Center | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | d=6cm | 2.5 | 6 | 0 | Point Dose |  |  | Side
20x20 6MV 0Nd | d=9cm | 118.4 | 100 | 9 | 9 | Center | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | d=9cm | 2.5 | 9 | 0 | Field | Field SSD | Depth | Thick | Thin | Center | Difference
20x20 6MV 0Nd | Thick d=12, -5 | 106.4 | 97.1 | 12 | 12 | Thick | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thick d=12, -5 | -2.5 | 9 | 0 | 20x20 6MV 0Nd | 100 | 3 | 161.6 | 156.6 | 154.4 | 7.2
20x20 6MV 0Nd | Thick d=3, -5 | 161.6 | 97.1 | 3 | 3 | Thick | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thick d=3, -5 | -2.5 | 0 | 0 | 20x20 6MV 0Nd | 100 | 6 | 142.1 | 137.2 | 136.1 | 6
20x20 6MV 0Nd | Thick d=6, -5 | 142.1 | 97.1 | 6 | 6 | Thick | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thick d=6, -5 | -2.5 | 3 | 0 | 20x20 6MV 0Nd | 100 | 9 | 123.1 | 118.9 | 118.4 | 4.7
20x20 6MV 0Nd | Thick d=9, -5 | 123.1 | 97.1 | 9 | 9 | Thick | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thick d=9, -5 | -2.5 | 6 | 0 | 20x20 6MV 3Nd | 97 | 3 | 106.2 | 102.7 | 101.2 | 5
20x20 6MV 0Nd | Thin d=0, 5 | 48.1 | - | 0 | - | Thin | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thin d=0, 5 | 2.5 | 0 | 0 | 20x20 6MV 3Nd | 97 | 6 | 93.1 | 89.7 | 88.9 | 4.2
20x20 6MV 0Nd | Thin d=3, 5 | 156.6 | 100.2 | 3 | 2.9 | Thin | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thin d=3, 5 | 7.5 | 3 | 0 | 20x20 6MV 3Nd | 97 | 9 | 80.4 | 77.6 | 77.2 | 3.2
20x20 6MV 0Nd | Thin d=6, 5 | 137.2 | 100.2 | 6 | 5.9 | Thin | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thin d=6, 5 | 7.5 | 6 | 0 | 20x20 6MV 6Nd | 94 | 3 | 121.2 | 117 | 115.2 | 6
20x20 6MV 0Nd | Thin d=9, 5 | 118.9 | 100.2 | 9 | 9 | Thin | AG30N6XF20 | AirGap2 | Thin 0 | 6 | 157 | 161.7 | 100 | 100 | 2.5 | 0 | 0 | 100 | 1.634 | Thin d=9, 5 | 7.5 | 9 | 0 | 20x20 6MV 6Nd | 94 | 6 | 105.9 | 102 | 101 | 4.9
20x20 6MV 3Nd | d=3cm | 101.2 | 97 | 3 | 3 | Center | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011 |  |  |  |  | 20x20 6MV 6Nd | 94 | 9 | 91.3 | 87.9 | 87.5 | 3.8
20x20 6MV 3Nd | d=6cm | 88.9 | 97 | 6 | 6 | Center | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011 |  |  |  |  | 20x20 6MV 9Nd | 91 | 3 | 140.6 | 135.4 | 133.2 | 7.4
20x20 6MV 3Nd | d=9cm | 77.2 | 97 | 9 | 9 | Center | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011 |  |  |  |  | 20x20 6MV 9Nd | 91 | 6 | 122.4 | 117.6 | 116.5 | 5.9
20x20 6MV 3Nd | Thick d=12, -5 | 69.3 | 94.1 | 12 | 12 | Thick | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011 |  |  |  |  | 20x20 6MV 9Nd | 91 | 9 | 105.2 | 101.1 | 100.6 | 4.6
20x20 6MV 3Nd | Thick d=3, -5 | 106.2 | 94.1 | 3 | 3 | Thick | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 3Nd | Thick d=6, -5 | 93.1 | 94.1 | 6 | 6 | Thick | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 3Nd | Thick d=9, -5 | 80.4 | 94.1 | 9 | 9 | Thick | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 3Nd | Thin d=0, 5 | 32.2 | - | 0 | - | Thin | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 3Nd | Thin d=3, 5 | 102.7 | 97.2 | 3 | 3 | Thin | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 3Nd | Thin d=6, 5 | 89.7 | 97.2 | 6 | 6 | Thin | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 3Nd | Thin d=9, 5 | 77.6 | 97.2 | 9 | 9 | Thin | AG30N6XF20 | AirGap2 | Thin 3 | 6 | 97 | 106.1 | 100 | 97 | 2.5 | 3.02 | 0 | 100 | 1.011
20x20 6MV 6Nd | d=3cm | 115.2 | 94 | 3 | 3 | Center | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | d=6cm | 101 | 94 | 6 | 6 | Center | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | d=9cm | 87.5 | 94 | 9 | 9 | Center | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thick d=12, -5 | 78.5 | 91.1 | 12 | 12 | Thick | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thick d=3, -5 | 121.2 | 91.1 | 3 | 3 | Thick | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thick d=6, -5 | 105.9 | 91.1 | 6 | 6 | Thick | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thick d=9, -5 | 91.3 | 91.1 | 9 | 9 | Thick | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thin d=0, 5 | 37.6 | - | 0 | - | Thin | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thin d=3, 5 | 117 | 94.2 | 3 | 3 | Thin | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thin d=6, 5 | 102 | 94.1 | 6 | 6 | Thin | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 6Nd | Thin d=9, 5 | 87.9 | 94.2 | 9 | 9 | Thin | AG30N6XF20 | AirGap2 | Thin 6 | 6 | 104 | 120.9 | 100 | 94 | 2.5 | 6.02 | 0 | 100 | 1.009
20x20 6MV 9Nd | d=3cm | 133.2 | 91 | 3 | 3 | Center | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | d=6cm | 116.5 | 91 | 6 | 6 | Center | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | d=9cm | 100.6 | 91 | 9 | 9 | Center | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thick d=12, -5 | 90.2 | 88.1 | 12 | 12 | Thick | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thick d=3, -5 | 140.6 | 88.1 | 3 | 3 | Thick | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thick d=6, -5 | 122.4 | 88.1 | 6 | 6 | Thick | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thick d=9, -5 | 105.2 | 88.1 | 9 | 9 | Thick | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thin d=0, 5 | 44.1 | - | 0 | - | Thin | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thin d=3, 5 | 135.4 | 91.2 | 3 | 3 | Thin | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thin d=6, 5 | 117.6 | 91.2 | 6 | 6 | Thin | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
20x20 6MV 9Nd | Thin d=9, 5 | 101.1 | 91.2 | 9 | 9 | Thin | AG30N6XF20 | AirGap2 | Thin 9 | 6 | 113 | 140.1 | 100 | 91 | 2.5 | 9.02 | 0 | 100 | 1.005
Total | d=3cm | 504 |  |  |  | Center
Total | d=6cm | 442.5 |  |  |  | Center
Total | d=9cm | 383.7 |  |  |  | Center
Total | Thick d=12, -5 | 344.4 |  |  |  | Thick
Total | Thick d=3, -5 | 529.6 |  |  |  | Thick
Total | Thick d=6, -5 | 463.4 |  |  |  | Thick
Total | Thick d=9, -5 | 400 |  |  |  | Thick
Total | Thin d=0, 5 | 162 |  |  |  | Thin
Total | Thin d=3, 5 | 511.7 |  |  |  | Thin
Total | Thin d=6, 5 | 446.5 |  |  |  | Thin
Total | Thin d=9, 5 | 385.5 |  |  |  | Thin

## dose difference
Point Dose |  |  | Side
Field | Field SSD | Depth | Thick | Thin | Center | Difference
20x20 6MV 0Nd | 100 | 3 | 161.6 | 156.6 | 154.4 | 7.2
20x20 6MV 0Nd | 100 | 6 | 142.1 | 137.2 | 136.1 | 6
20x20 6MV 0Nd | 100 | 9 | 123.1 | 118.9 | 118.4 | 4.7
20x20 6MV 3Nd | 97 | 3 | 106.2 | 102.7 | 101.2 | 5
20x20 6MV 3Nd | 97 | 6 | 93.1 | 89.7 | 88.9 | 4.2
20x20 6MV 3Nd | 97 | 9 | 80.4 | 77.6 | 77.2 | 3.2
20x20 6MV 6Nd | 94 | 3 | 121.2 | 117 | 115.2 | 6
20x20 6MV 6Nd | 94 | 6 | 105.9 | 102 | 101 | 4.9
20x20 6MV 6Nd | 94 | 9 | 91.3 | 87.9 | 87.5 | 3.8
20x20 6MV 9Nd | 91 | 3 | 140.6 | 135.4 | 133.2 | 7.4
20x20 6MV 9Nd | 91 | 6 | 122.4 | 117.6 | 116.5 | 5.9
20x20 6MV 9Nd | 91 | 9 | 105.2 | 101.1 | 100.6 | 4.6