## output
EvaluationSheet 60Gy 8F | DVH Data Mar 05 2018.dvh | EvaluationSheet 60Gy 8F | Test_results | Difference | EvaluationSheet 48Gy4F 60Gy5F | DVH Data Feb 27 2018.dvh | EvaluationSheet 48Gy4F 60Gy5F | Test_results | Difference | EvaluationSheet 48Gy4F 60Gy5F | DVH Data Feb 14 2018.dvh | EvaluationSheet 48Gy4F 60Gy5F | Test_results | Difference | EvaluationSheet 60Gy 8F | DVH Data Nov 22 2017.dvh | EvaluationSheet 60Gy 8F | Test_results | Difference | EvaluationSheet 60Gy 8F | DVH Data Nov 17 2017.dvh | EvaluationSheet 60Gy 8F | Test_results | Difference | EvaluationSheet 48Gy4F 60Gy5F | DVH_Data_Sept_29_2017.dvh | EvaluationSheet 48Gy4F 60Gy5F | Test_results | Difference | EvaluationSheet 48Gy4F 60Gy5F | DVH_Data_Aug_29_2017.dvh | EvaluationSheet 48Gy4F 60Gy5F | Test_results | Difference | EvaluationSheet 54Gy 3F | SABR1.dvh | EvaluationSheet 54Gy 3F | Test_results | Difference | EvaluationSheet 54Gy 3F | SABR2.dvh | EvaluationSheet 54Gy 3F | Test_results | Difference | EvaluationSheet 54Gy 3F | SABR3.dvh | EvaluationSheet 54Gy 3F | Test_results | Difference | EvaluationSheet 54Gy 3F | SABR4.dvh | EvaluationSheet 54Gy 3F | Test_results | Difference | EvaluationSheet 54Gy 3F | SABR5.dvh | EvaluationSheet 54Gy 3F | Test_results | Difference | EvaluationSheet 54Gy 3F | SABR6.dvh | Test_results | Difference
Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | 0 | Patient: | AA, BB | FALSE | Patient: | PT1 | Patient: | PT1 | TRUE | Patient: | PT2 | Patient: | PT2 | TRUE | Patient: | PT3 | Patient: | PT3 | TRUE | Patient: | PT4 | Patient: | PT4 | TRUE | Patient: | PT5 | Patient: | PT5 | TRUE | Patient: | PT6 | PT6 | TRUE
CR#: | 0 | CR#: | 11 | -11 | CR#: | 0 | CR#: | 11 | -11 | CR#: | 0 | CR#: | 11 | -11 | CR#: | 0 | CR#: | 11 | -11 | CR#: | 0 | CR#: | 11 | -11 | CR#: | 0 | CR#: | 11 | -11 | CR#: | 0 | CR#: | 11 | -11 | CR#: | 1 | CR#: | 1 | 0 | CR#: | 2 | CR#: | 2 | 0 | CR#: | 3 | CR#: | 3 | 0 | CR#: | 4 | CR#: | 4 | 0 | CR#: | 5 | CR#: | 5 | 0 | CR#: | 6 | 6 | 0
Site: | 0 | Site: | ?? | FALSE | Site: | 0 | Site: | ?? | FALSE | Site: | 0 | Site: | ?? | FALSE | Site: | 0 | Site: | ?? | FALSE | Site: | 0 | Site: | ?? | FALSE | Site: | 0 | Site: | ?? | FALSE | Site: | 0 | Site: | ?? | FALSE | Site: | LUNG | Site: | LUNG | TRUE | Site: | LUNG | Site: | LUNG | TRUE | Site: | LUNG | Site: | LUNG | TRUE | Site: | LUNG | Site: | LUNG | TRUE | Site: | LUNG | Site: | LUNG | TRUE | Site: | LUNG | LUNG | TRUE
Plan Name: | LUNL | Plan Name: | LUNL | TRUE | Plan Name: | LUNL | Plan Name: | LUNL | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNL | Plan Name: | LUNL | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNL | Plan Name: | LUNL | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNL | Plan Name: | LUNL | TRUE | Plan Name: | LUNR | Plan Name: | LUNR | TRUE | Plan Name: | LUNL | LUNL | TRUE
Prescription Dose (cGy): | 0 | Prescription Dose (cGy): | 6000 | -6000 | Prescription Dose (cGy): | 4800 | Prescription Dose (cGy): | 4800 | 0 | Prescription Dose (cGy): | 4800 | Prescription Dose (cGy): | 4800 | 0 | Prescription Dose (cGy): | 0 | Prescription Dose (cGy): | 6000 | -6000 | Prescription Dose (cGy): | 0 | Prescription Dose (cGy): | 6000 | -6000 | Prescription Dose (cGy): | 4800 | Prescription Dose (cGy): | 4800 | 0 | Prescription Dose (cGy): | 4800 | Prescription Dose (cGy): | 4800 | 0 | Total Prescr. Dose (cGy): | 5400 | Prescription Dose (cGy): | 5400 | 0 | Total Prescr. Dose (cGy): | 5400 | Prescription Dose (cGy): | 5400 | 0 | Total Prescr. Dose (cGy): | 5400 | Prescription Dose (cGy): | 5400 | 0 | Total Prescr. Dose (cGy): | 5400 | Prescription Dose (cGy): | 5400 | 0 | Total Prescr. Dose (cGy): | 5400 | Prescription Dose (cGy): | 5400 | 0 | Prescription Dose (cGy): | 5400 | 5400 | 0
Fractions: | 0 | Fractions: | 8 | -8 | Fractions: | 0 | Fractions: | ?? | FALSE | Fractions: | 0 | Fractions: | ?? | FALSE | Fractions: | 0 | Fractions: | 8 | -8 | Fractions: | 0 | Fractions: | 8 | -8 | Fractions: | 0 | Fractions: | ?? | FALSE | Fractions: | 0 | Fractions: | ?? | FALSE | Fracttions: | 3 | Fractions: | 3 | 0 | Fracttions: | 3 | Fractions: | 3 | 0 | Fracttions: | 3 | Fractions: | 3 | 0 | Fracttions: | 3 | Fractions: | 3 | 0 | Fracttions: | 3 | Fractions: | 3 | 0 | Fractions: | 3 | 3 | 0
GTV Volume (cc) | 5.1 | GTV Volume (cc) | 5.1 | 0 | GTV Volume (cc) | 7.3 | GTV Volume (cc) | 7.3 | 0 | GTV Volume (cc) | 4.7 | GTV Volume (cc) | 4.7 | 0 | GTV Volume (cc) | 3.9 | GTV Volume (cc) | 3.9 | 0 | GTV Volume (cc) | 12.2 | GTV Volume (cc) | 12.2 | 0 | GTV Volume (cc) | 8 | GTV Volume (cc) | 8 | 0 | GTV Volume (cc) | 8.1 | GTV Volume (cc) | 8.1 | 0 | GTV Volume (cc) | 1.33 | GTV Volume (cc) | 1.3 | 0.03 | GTV Volume (cc) | 3.5 | GTV Volume (cc) | 3.5 | 0 | GTV Volume (cc) | 2.09 | GTV Volume (cc) | 2.1 | -0.01 | GTV Volume (cc) | 1.3 | GTV Volume (cc) | 1.3 | 0 | GTV Volume (cc) | 1.84 | GTV Volume (cc) | 2.5 | -0.66 | GTV Volume (cc) |  | ?? | FALSE
ITV Volume (cc): | 5.1 | ITV Volume (cc): | 5.1 | 0 | ITV Volume (cc): | 7.3 | ITV Volume (cc): | 7.3 | 0 | ITV Volume (cc): | 4.7 | ITV Volume (cc): | 4.7 | 0 | ITV Volume (cc): | 3.9 | ITV Volume (cc): | 3.9 | 0 | ITV Volume (cc): | 12.1 | ITV Volume (cc): | 12.1 | 0 | ITV Volume (cc): | 8 | ITV Volume (cc): | 8 | 0 | ITV Volume (cc): | 8.1 | ITV Volume (cc): | 8.1 | 0 | ITV Volume (cc): | 1.35 | ITV Volume (cc): | 1.3 | 0.05 | ITV Volume (cc): | 3.5 | ITV Volume (cc): | 3.5 | 0 | ITV Volume (cc): | 2.08 | ITV Volume (cc): | 2.1 | -0.02 | ITV Volume (cc): | 1.3 | ITV Volume (cc): | 1.3 | 0 | ITV Volume (cc): | 2.47 | ITV Volume (cc): | 2.5 | -0.03 | ITV Volume (cc): | 11.94 | 11.9 | 0.04
PTV Volume (cc) | 20.3 | PTV Volume (cc) | 20.3 | 0 | PTV Volume (cc) | 23.8 | PTV Volume (cc) | 23.8 | 0 | PTV Volume (cc) | 17.4 | PTV Volume (cc) | 17.4 | 0 | PTV Volume (cc) | 17.2 | PTV Volume (cc) | 17.2 | 0 | PTV Volume (cc) | 36.8 | PTV Volume (cc) | 36.8 | 0 | PTV Volume (cc) | 26.1 | PTV Volume (cc) | 26.1 | 0 | PTV Volume (cc) | 24.2 | PTV Volume (cc) | 24.2 | 0 | PTV Volume (cc) | 7.35 | PTV Volume (cc) | 7.3 | 0.05 | PTV Volume (cc) | 14.7 | PTV Volume (cc) | 14.7 | 0 | PTV Volume (cc) | 10.08 | PTV Volume (cc) | 10.1 | -0.02 | PTV Volume (cc) | 14.69 | PTV Volume (cc) | 8.2 | 6.49 | PTV Volume (cc) | 10.94 | PTV Volume (cc) | 10.9 | 0.04 | PTV Volume (cc) | 34.52 | ?? | FALSE
Total Lung Volume (cc) | 2229.1 | Total Lung Volume (cc) | 2229.1 | 0 | Total Lung Volume (cc) | 4403.6 | Total Lung Volume (cc) | 4403.6 | 0 | Total Lung Volume (cc) | 3365.2 | Total Lung Volume (cc) | 3365.2 | 0 | Total Lung Volume (cc) | 3687.7 | Total Lung Volume (cc) | 3687.7 | 0 | Total Lung Volume (cc) | 3431.8 | Total Lung Volume (cc) | 3431.8 | 0 | Total Lung Volume (cc) | 4489.8 | Total Lung Volume (cc) | 4489.8 | 0 | Total Lung Volume (cc) | 2030 | Total Lung Volume (cc) | 2030 | 0 | Total Lung Volume (cc) | 4689.47 | Total Lung Volume (cc) | 4689.5 | -0.03 | Total Lung Volume (cc) | 6102.7 | Total Lung Volume (cc) | 6102.7 | 0 | Total Lung Volume (cc) | 3151.03 | Total Lung Volume (cc) | 3151 | 0.03 | Total Lung Volume (cc) | 2926.04 | Total Lung Volume (cc) | 2926 | 0.04 | Total Lung Volume (cc) | 5232 | Total Lung Volume (cc) | 5232.3 | -0.3 | Total Lung Volume (cc) | 7331 | 7331 | 0
Plan Normalization Value (%) | 0.891 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.85 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | ?? | Plan Normalization Value (%) | ?? | TRUE | Plan Normalization Value (%) | 0.909 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.86 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.894 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.822 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.663 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.877 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.724 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.823 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.867 | Plan Normalization Value (%) | ?? | FALSE | Plan Normalization Value (%) | 0.719 | ?? | FALSE
Dose @COM-PTV (cGy) | 1.117 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (%) | 1.261 | Dose @COM-PTV (%) | ?? | FALSE | Dose @COM-PTV (%) | ?? | Dose @COM-PTV (%) | ?? | TRUE | Dose @COM-PTV (cGy) | 1.147 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (cGy) | 1.222 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (%) | 1.194 | Dose @COM-PTV (%) | ?? | FALSE | Dose @COM-PTV (%) | 1.223 | Dose @COM-PTV (%) | ?? | FALSE | Dose @COM-PTV (cGy) | 6385.6 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (cGy) | 6520.1 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (cGy) | 6547.2 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (cGy) | 6389 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (cGy) | 7203.6 | Dose @COM-PTV (cGy) | ?? | FALSE | Dose @COM-PTV (cGy) | 6711.3 | ?? | FALSE
PTV- Minimum Dose | 0.847 | PTV- Minimum Dose | ?? | FALSE | PTV- Minimum Dose (%) | 0.91 | PTV- Minimum Dose (%) | 4368 | -4367.09 | PTV- Minimum Dose (%) | 0.904 | PTV- Minimum Dose (%) | 4339.2 | -4338.296 | PTV- Minimum Dose | 0.903 | PTV- Minimum Dose | ?? | FALSE | PTV- Minimum Dose | 0.859 | PTV- Minimum Dose | ?? | FALSE | PTV- Minimum Dose (%) | 0.895 | PTV- Minimum Dose (%) | 4296 | -4295.105 | PTV- Minimum Dose (%) | 0.87 | PTV- Minimum Dose (%) | 4176 | -4175.13 | PTV- Minimum Dose | 90.9 | PTV- Minimum Dose | 4909.6 | -4818.7 | PTV- Minimum Dose | 4797.3 | PTV- Minimum Dose | 4797.3 | 0 | PTV- Minimum Dose | 4895.3 | PTV- Minimum Dose | 4895.3 | 0 | PTV- Minimum Dose | 4915 | PTV- Minimum Dose | 5352.7 | -437.7 | PTV- Minimum Dose | 4879.8 | PTV- Minimum Dose | 4895.4 | -15.6 | PTV- Minimum Dose | 4562 | ?? | FALSE
PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95 | 0 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95587 | -0.0058671 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95046 | -0.00045578 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.94821 | 0.0017931 | PTV - V100(%) | 0.95 | PTV - V100(%) | 1.0058 | -0.055828 | PTV - V100(%) | 0.95 | PTV - V100(%) | 0.95364 | -0.0036422 | PTV - V100(%) | 0.95 | ?? | FALSE
PTV - V90 (%) | 0.9983 | PTV - V90 (%) | 0.9983 | 0 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1 | 0 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1 | 0 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1 | 0 | PTV - V90 (%) | 0.99915 | PTV - V90 (%) | 0.99915 | 0 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1 | 0 | PTV - V90 (%) | 0.99944 | PTV - V90 (%) | 0.99944 | 0 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1.0062 | -0.0061767 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1.0004 | -0.00044898 | PTV - V90 (%) | 0.999 | PTV - V90 (%) | 0.99811 | 0.00089109 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1.0059 | -0.0058841 | PTV - V90 (%) | 1 | PTV - V90 (%) | 1.0038 | -0.0038349 | PTV - V90 (%) | 0.99 | ?? | FALSE
Location V105% - PTV (cc) = | 0.1 | Location V105% - PTV (cc) = | 0.1 | 0 | Location V105% - PTV (cc) = | 0.1 | Location V105% - PTV (cc) = | 0.1 | 0 | Location V105% - PTV (cc) = | 0 | Location V105% - PTV (cc) = | 0 | 0 | Location V105% - PTV (cc) = | 0 | Location V105% - PTV (cc) = | 0 | 0 | Location V105% - PTV (cc) = | 0 | Location V105% - PTV (cc) = | 0 | 0 | Location V105% - PTV (cc) = | 0 | Location V105% - PTV (cc) = | 0 | 0 | Location V105% - PTV (cc) = | 0.1 | Location V105% - PTV (cc) = | 0.1 | 0 | Location V105% - PTV (cc) = | 0.05 | Location V105% - PTV (cc) = | 0 | 0.05 | Location V105% - PTV (cc) = | 0.1 | Location V105% - PTV (cc) = | 0 | 0.1 | Location V105% - PTV (cc) = | 0.05 | Location V105% - PTV (cc) = | 0 | 0.05 | Location V105% - PTV (cc) = | 0 | Location V105% - PTV (cc) = | ?? | FALSE | Location V105% - PTV (cc) = | 0.03 | Location V105% - PTV (cc) = | 0 | 0.03 | Location V105% - PTV (cc) = | 2.35 | ?? | FALSE
Volume V100% (cc) = | 21.7 | Volume V100% (cc) = | 21.7 | 0 | Volume V100% (cc) = | 25.4 | Volume V100% (cc) = | 25.4 | 0 | Volume V100% (cc) = | 17.2 | Volume V100% (cc) = | 17.2 | 0 | Volume V100% (cc) = | 17.6 | Volume V100% (cc) = | 17.6 | 0 | Volume V100% (cc) = | 38.9 | Volume V100% (cc) = | 38.9 | 0 | Volume V100% (cc) = | 26 | Volume V100% (cc) = | 26 | 0 | Volume V100% (cc) = | 25 | Volume V100% (cc) = | 25 | 0 | Volume V100% (cc) = | 7.86 | Volume V100% (cc) = | 7.9 | -0.04 | Volume V100% (cc) = | 15.4 | Volume V100% (cc) = | 15.4 | 0 | Volume V100% (cc) = | 11.61 | Volume V100% (cc) = | 11.6 | 0.01 | Volume V100% (cc) = | 14.88 | Volume V100% (cc) = | ?? | FALSE | Volume V100% (cc) = | 11.6 | Volume V100% (cc) = | 11.6 | 0 | Volume V100% (cc) = | 40.34 | ?? | FALSE
Location D³2cm (%) = | 55.2 | Location D³2cm (%) = | 55.2 | 0 | Location D³2cm (%) = | 61.5 | Location D³2cm (%) = | 61.5 | 0 | Location D³2cm (%) = | 46.1 | Location D³2cm (%) = | 46.1 | 0 | Location D³2cm (%) = | 49.7 | Location D³2cm (%) = | 49.7 | 0 | Location D³2cm (%) = | 54 | Location D³2cm (%) = | 54 | 0 | Location D³2cm (%) = | 51.1 | Location D³2cm (%) = | 51.1 | 0 | Location D³2cm (%) = | 58.6 | Location D³2cm (%) = | 58.6 | 0 | Location D³2cm (%) = | 48.6 | Location D³2cm (%) = | 48.613 | -0.012963 | Location D³2cm (%) = | 53.8 | Location D³2cm (%) = | 53.837 | -0.037037 | Location D³2cm (%) = | 2855 | Location D³2cm (%) = | ?? | FALSE | Location D³2cm (%) = | 2711.9 | Location D³2cm (%) = | ?? | FALSE | Location D³2cm (%) = | 2771 | Location D³2cm (%) = | ?? | FALSE | Location D³2cm (%) = | 3625 | ?? | FALSE
Volume | 89.3 | Volume | 89.3 | 0 | Volume | 105.5 | Volume | 105.5 | 0 | Volume | 71.1 | Volume | 71.1 | 0 | Volume | 79.1 | Volume | 79.1 | 0 | Volume | 161.5 | Volume | 161.5 | 0 | Volume | 112.2 | Volume | 112.2 | 0 | Volume | 98.4 | Volume | 98.4 | 0 | Volume(R50) | 38.89 | Volume(R50) | 38.9 | -0.01 | Volume(R50) | 70.61 | Volume(R50) | 70.6 | 0.01 | Volume(R50) | 57.78 | Volume(R50) | 57.8 | -0.02 | Volume(R50) | 69.86 | Volume(R50) | ?? | FALSE | Volume(R50) | 52.9 | Volume(R50) | 52.9 | 0 | Volume(R50) | 152.4 | ?? | FALSE
Mean Dose (contralateral lung) | 102 | Mean Dose (contralateral lung) | 102 | 1.4211e-14 | Mean Dose (contralateral lung) | 62.4 | Mean Dose (contralateral lung) | 62.4 | 0 | Mean Dose (contralateral lung) | 67.2 | Mean Dose (contralateral lung) | 67.2 | 0 | Mean Dose (contralateral lung) | 72 | Mean Dose (contralateral lung) | 72 | 0 | Mean Dose (contralateral lung) | 120 | Mean Dose (contralateral lung) | 120 | 0 | Mean Dose (contralateral lung) | 72 | Mean Dose (contralateral lung) | 72 | 0 | Mean Dose (contralateral lung) | 120 | Mean Dose (contralateral lung) | 120 | 0 | Mean Dose (contralateral lung) | 52.8 | Mean Dose (contralateral lung) | 52.8 | 0 | Mean Dose (contralateral lung) | 50.1 | Mean Dose (contralateral lung) | 50.7 | -0.6 | Mean Dose (contralateral lung) | 71.8 | Mean Dose (contralateral lung) | ?? | FALSE | Mean Dose (contralateral lung) | 92 | Mean Dose (contralateral lung) | ?? | FALSE | Mean Dose (contralateral lung) | 79.1 | Mean Dose (contralateral lung) | ?? | FALSE | Mean Dose (contralateral lung) | 84.7 | ?? | FALSE
Mean Dose (Total lung) | 300 | Mean Dose (Total lung) | 300 | 0 | Mean Dose (Total lung) | 201.6 | Mean Dose (Total lung) | 201.6 | 0 | Mean Dose (Total lung) | 288 | Mean Dose (Total lung) | 288 | 0 | Mean Dose (Total lung) | 162 | Mean Dose (Total lung) | 162 | 2.8422e-14 | Mean Dose (Total lung) | 468 | Mean Dose (Total lung) | 468 | 0 | Mean Dose (Total lung) | 259.2 | Mean Dose (Total lung) | 259.2 | 0 | Mean Dose (Total lung) | 321.6 | Mean Dose (Total lung) | 321.6 | 0 | Mean Dose (Total lung) | 173.7 | Mean Dose (Total lung) | 173.7 | 0 | Mean Dose (Total lung) | 185.9 | Mean Dose (Total lung) | 185.9 | 0 | Mean Dose (Total lung) | 262.6 | Mean Dose (Total lung) | 262.6 | 0 | Mean Dose (Total lung) | 286.6 | Mean Dose (Total lung) | 286.6 | 0 | Mean Dose (Total lung) | 205.4 | Mean Dose (Total lung) | 205.4 | 0 | Mean Dose (Total lung) | 233.7 | 233.7 | 0
V20 (Total Lung) | 0.037159 | V20 (Total Lung) | 0.037095 | 6.4067e-05 | V20 (Total Lung) in % | 0.015966 | V20 (Total Lung) in % | 0.015924 | 4.16e-05 | V20 (Total Lung) in % | 0.028168 | V20 (Total Lung) in % | 0.028086 | 8.1467e-05 | V20 (Total Lung) | 0.021945 | V20 (Total Lung) | 0.021916 | 2.9133e-05 | V20 (Total Lung) | 0.055226 | V20 (Total Lung) | 0.055139 | 8.6833e-05 | V20 (Total Lung) in % | 0.025632 | V20 (Total Lung) in % | 0.025566 | 6.6667e-05 | V20 (Total Lung) in % | 0.035633 | V20 (Total Lung) in % | 0.035542 | 9.1133e-05 | V20 (Total Lung) in % | 0.015 | V20 (Total Lung) in % | 0.014668 | 0.0003317 | V20 (Total Lung) in % | 0.021 | V20 (Total Lung) in % | 0.020838 | 0.00016217 | V20 (Total Lung) in % | 0.0254 | V20 (Total Lung) in % | 0.025313 | 8.6512e-05 | V20 (Total Lung) in % | 0.035 | V20 (Total Lung) in % | 0.034963 | 3.6569e-05 | V20 (Total Lung) in % | 0.018 | V20 (Total Lung) in % | 0.018387 | -0.00038746 | V20 (Total Lung) in % | 0.022 | 0.02265 | -0.00065025
Aorta (max point dose) | 1572 | Aorta (max point dose) | 1572 | 0 | Lung-Basic Function | 174.1611 | Lung-Basic Function | 173.4656 | 0.69548 | Lung-Basic Function | 213.6357 | Lung-Basic Function | 212.8316 | 0.80406 | Aorta (max point dose) | 558 | Aorta (max point dose) | 558 | 1.1369e-13 | Aorta (max point dose) | 1812 | Aorta (max point dose) | 1812 | 0 | Lung-Basic Function | 252.7461 | Lung-Basic Function | 251.8933 | 0.85276 | Lung-Basic Function | 151.1593 | Lung-Basic Function | 150.7393 | 0.41994 | Lung-Basic Function V11.6Gy= | 161 | Lung-Basic Function V11.6Gy= | 161.522 | -0.522 | Lung-Basic Function V11.6Gy= | 247.68 | Lung-Basic Function V11.6Gy= | 247.678 | 0.002 | Lung-Basic Function V11.6Gy= | 160.4 | Lung-Basic Function V11.6Gy= | 160.899 | -0.499 | Lung-Basic Function V11.6Gy= | 199 | Lung-Basic Function V11.6Gy= | 198.413 | 0.587 | Lung-Basic Function V11.6Gy= | 245 | Lung-Basic Function V11.6Gy= | 245.359 | -0.359 | Lung-Basic Function V11.6Gy= | 355 | 354.187 | 0.813
Aorta V60Gy= | 0 | Aorta V60Gy= | 0 | 0 | Lung-Pneumonitis | 157.246 | Lung-Pneumonitis | 156.9356 | 0.31031 | Lung-Pneumonitis | 194.4702 | Lung-Pneumonitis | 194.1227 | 0.34751 | Aorta V60Gy= | 0 | Aorta V60Gy= | 0 | 0 | Aorta V60Gy= | 0 | Aorta V60Gy= | 0 | 0 | Lung-Pneumonitis | 231.9408 | Lung-Pneumonitis | 231.5637 | 0.37714 | Lung-Pneumonitis | 141.1597 | Lung-Pneumonitis | 140.9765 | 0.18324 | Lung-Pneumonitis V12.4Gy= | 146 | Lung-Pneumonitis V12.4Gy= | 146.462 | -0.462 | Lung-Pneumonitis V12.4Gy= | 232.3 | Lung-Pneumonitis V12.4Gy= | 232.3 | 0 | Lung-Pneumonitis V12.4Gy= | 149 | Lung-Pneumonitis V12.4Gy= | 149.052 | -0.052 | Lung-Pneumonitis V12.4Gy= | 187 | Lung-Pneumonitis V12.4Gy= | 186.755 | 0.245 | Lung-Pneumonitis V12.4Gy= | 222 | Lung-Pneumonitis V12.4Gy= | 221.778 | 0.222 | Lung-Pneumonitis V12.4Gy= | 326 | 327.509 | -1.509
Artery-Pulmonary (max point dose) | 36 | Artery-Pulmonary (max point dose) | 36 | 0 | Aorta (max point dose) | 979.2 | Aorta (max point dose) | 979.2 | 0 | Aorta (max point dose) | 547.2 | Aorta (max point dose) | 547.2 | 0 | Artery-Pulmonary (max point dose) | 36 | Artery-Pulmonary (max point dose) | 36 | 0 | Artery-Pulmonary (max point dose) | 1134 | Artery-Pulmonary (max point dose) | 1134 | -2.2737e-13 | Aorta (max point dose) | 734.4 | Aorta (max point dose) | 734.4 | -1.1369e-13 | Aorta (max point dose) | 1104 | Aorta (max point dose) | 1104 | 0 | Aorta (max point dose) | 675.6 | Aorta (max point dose) | 675.6 | 0 | Aorta (max point dose) | 1340.7 | Aorta (max point dose) | 1340.7 | 0 | Aorta (max point dose) | 959.6 | Aorta (max point dose) | 959.6 | 0 | Aorta (max point dose) | 1518.1 | Aorta (max point dose) | 1518.1 | 0 | Aorta (max point dose) | 1154 | Aorta (max point dose) | 1154.1 | -0.1 | Aorta (max point dose) | 1560 | 1559.5 | 0.5
Artery-Pulmonary V60Gy= | 0 | Artery-Pulmonary V60Gy= | 0 | 0 | Aorta V40Gy= | 0 | Aorta V40Gy= | 0 | 0 | Aorta V40Gy= | 0 | Aorta V40Gy= | 0 | 0 | Artery-Pulmonary V60Gy= | 0 | Artery-Pulmonary V60Gy= | 0 | 0 | Artery-Pulmonary V60Gy= | 0 | Artery-Pulmonary V60Gy= | 0 | 0 | Aorta V40Gy= | 0 | Aorta V40Gy= | 0 | 0 | Aorta V40Gy= | 0 | Aorta V40Gy= | 0 | 0 | Artery-Pulmnory (max point dose) | 606.8 | Artery-Pulmnory (max point dose) | 606.8 | 0 | Artery-Pulmnory (max point dose) | 220.9 | Artery-Pulmnory (max point dose) | 220.9 | 0 | Artery-Pulmnory (max point dose) | 887.1 | Artery-Pulmnory (max point dose) | 887.1 | 0 | Artery-Pulmnory (max point dose) | 33.2 | Artery-Pulmnory (max point dose) | 33.2 | 0 | Artery-Pulmnory (max point dose) | 867 | Artery-Pulmnory (max point dose) | 867.1 | -0.1 | Artery-Pulmnory (max point dose) | 1529 | 1529.1 | -0.1
Spinal Canal (max point dose) | 1086 | Spinal Canal (max point dose) | 1086 | 2.2737e-13 | Artery-Pulmonary (max point dose) | 1046.4 | Artery-Pulmonary (max point dose) | 1046.4 | 0 | Artery-Pulmonary (max point dose) | 96 | Artery-Pulmonary (max point dose) | 96 | 0 | Spinal Canal (max point dose) | 1644 | Spinal Canal (max point dose) | 1644 | -2.2737e-13 | Spinal Canal (max point dose) | 906 | Spinal Canal (max point dose) | 906 | 0 | Artery-Pulmonary (max point dose) | 619.2 | Artery-Pulmonary (max point dose) | 619.2 | 0 | Artery-Pulmonary (max point dose) | 806.4 | Artery-Pulmonary (max point dose) | 806.4 | 0 | Spinal Canal (max point dose) | 681.8 | Spinal Canal (max point dose) | 681.8 | 0 | Spinal Canal (max point dose) | 842.6 | Spinal Canal (max point dose) | 842.6 | 0 | Spinal Canal (max point dose) | 570.4 | Spinal Canal (max point dose) | ?? | FALSE | Spinal Canal (max point dose) | 907 | Spinal Canal (max point dose) | ?? | FALSE | Spinal Canal (max point dose) | 1723 | Spinal Canal (max point dose) | ?? | FALSE | Spinal Canal (max point dose) | 473 | ?? | FALSE
Ipsilat. Brach. Plex. (max point dose) | ?? | Ipsilat. Brach. Plex. (max point dose) | ?? | TRUE | Artery-Pulmonary V40Gy= | 0 | Artery-Pulmonary V40Gy= | 0 | 0 | Artery-Pulmonary V40Gy= | 0 | Artery-Pulmonary V40Gy= | 0 | 0 | Ipsilat. Brach. Plex. (max point dose) | 2304 | Ipsilat. Brach. Plex. (max point dose) | ?? | FALSE | Ipsilat. Brach. Plex. (max point dose) | ?? | Ipsilat. Brach. Plex. (max point dose) | ?? | TRUE | Artery-Pulmonary V40Gy= | 0 | Artery-Pulmonary V40Gy= | 0 | 0 | Artery-Pulmonary V40Gy= | 0 | Artery-Pulmonary V40Gy= | 0 | 0 | Spinal Canal-PRV 5mm (max point dose) | 722 | Spinal Canal-PRV 5mm (max point dose) | 722 | 0 | Spinal Canal-PRV 5mm (max point dose) | 924 | Spinal Canal-PRV 5mm (max point dose) | 924 | 0 | Spinal Canal-PRV 5mm (max point dose) | 607.3 | Spinal Canal-PRV 5mm (max point dose) | ?? | FALSE | Spinal Canal-PRV 5mm (max point dose) | 1013.3 | Spinal Canal-PRV 5mm (max point dose) | ?? | FALSE | Spinal Canal-PRV 5mm (max point dose) | 1843 | Spinal Canal-PRV 5mm (max point dose) | ?? | FALSE | Spinal Canal-PRV 5mm (max point dose) | 501 | ?? | FALSE
Ipsilat. Brach. Plex. V30Gy= | ?? | Ipsilat. Brach. Plex. V30Gy= | ?? | TRUE | Spinal Canal (max point dose) | 600 | Spinal Canal (max point dose) | 600 | 0 | Spinal Canal (max point dose) | 1012.8 | Spinal Canal (max point dose) | 1012.8 | 0 | Ipsilat. Brach. Plex. V30Gy= | 0 | Ipsilat. Brach. Plex. V30Gy= | ?? | FALSE | Ipsilat. Brach. Plex. V30Gy= | ?? | Ipsilat. Brach. Plex. V30Gy= | ?? | TRUE | Spinal Canal (max point dose) | 518.4 | Spinal Canal (max point dose) | 518.4 | 0 | Spinal Canal (max point dose) | 1123.2 | Spinal Canal (max point dose) | 1123.2 | 0 | Ipsilat Brach.Plex (max point dose) | ?? | Ipsilat Brach.Plex (max point dose) | ?? | TRUE | Ipsilat Brach.Plex (max point dose) | 0 | Ipsilat Brach.Plex (max point dose) | ?? | FALSE | Ipsilat Brach.Plex (max point dose) | 0 | Ipsilat Brach.Plex (max point dose) | ?? | FALSE | Ipsilat Brach.Plex (max point dose) | ?? | Ipsilat Brach.Plex (max point dose) | ?? | TRUE | Ipsilat Brach.Plex (max point dose) | ?? | Ipsilat Brach.Plex (max point dose) | ?? | TRUE | Ipsilat Brach.Plex (max point dose) | 0 | ?? | FALSE
Heart (max point dose) | 1932 | Heart (max point dose) | 1932 | -2.2737e-13 | Spinal Canal V20.8Gy= | 0 | Spinal Canal V20.8Gy= | 0 | 0 | Spinal Canal V20.8Gy= | 0 | Spinal Canal V20.8Gy= | 0 | 0 | Heart (max point dose) | 18 | Heart (max point dose) | 18 | 0 | Heart (max point dose) | 1038 | Heart (max point dose) | 1038 | 0 | Spinal Canal V20.8Gy= | 0 | Spinal Canal V20.8Gy= | 0 | 0 | Spinal Canal V20.8Gy= | 0 | Spinal Canal V20.8Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | 0 | 0
Heart V60Gy= | 0 | Heart V60Gy= | 0 | 0 | Spinal Canal V13.6Gy= | 0 | Spinal Canal V13.6Gy= | 0 | 0 | Spinal Canal V13.6Gy= | 0 | Spinal Canal V13.6Gy= | 0 | 0 | Heart V60Gy= | 0 | Heart V60Gy= | 0 | 0 | Heart V60Gy= | 0 | Heart V60Gy= | 0 | 0 | Spinal Canal V13.6Gy= | 0 | Spinal Canal V13.6Gy= | 0 | 0 | Spinal Canal V13.6Gy= | 0 | Spinal Canal V13.6Gy= | 0 | 0 | Heart (max point dose) | 851.5 | Heart (max point dose) | 851.5 | 0 | Heart (max point dose) | 67.3 | Heart (max point dose) | 67.3 | 0 | Heart (max point dose) | 969.1 | Heart (max point dose) | 969.1 | 0 | Heart (max point dose) | 1799.9 | Heart (max point dose) | 1799.9 | 0 | Heart (max point dose) | 175 | Heart (max point dose) | 174.9 | 0.1 | Heart (max point dose) | 173 | 173.2 | -0.2
Esophagus (max point dose) | 1032 | Esophagus (max point dose) | 1032 | 0 | Spinal Canal-PRV 5mm (max point dose) | 648 | Spinal Canal-PRV 5mm (max point dose) | 648 | 0 | Spinal Canal-PRV 5mm (max point dose) | 1166.4 | Spinal Canal-PRV 5mm (max point dose) | 1166.4 | -2.2737e-13 | Esophagus (max point dose) | 1278 | Esophagus (max point dose) | 1278 | 0 | Esophagus (max point dose) | 942 | Esophagus (max point dose) | 942 | 0 | Spinal Canal-PRV 5mm (max point dose) | 556.8 | Spinal Canal-PRV 5mm (max point dose) | 556.8 | 0 | Spinal Canal-PRV 5mm (max point dose) | 1291.2 | Spinal Canal-PRV 5mm (max point dose) | ?? | FALSE | Esophagus (max point dose) | 691.2 | Esophagus (max point dose) | 691.2 | 0 | Esophagus (max point dose) | 800 | Esophagus (max point dose) | 800 | 0 | Esophagus (max point dose) | 602.4 | Esophagus (max point dose) | 602.4 | 0 | Esophagus (max point dose) | 761.6 | Esophagus (max point dose) | 761.6 | 0 | Esophagus (max point dose) | 1000 | Esophagus (max point dose) | 999.7 | 0.3 | Esophagus (max point dose) | 878 | 878.1 | -0.1
Chestwall (rib) (max point dose) | 7260 | Chestwall (rib) (max point dose) | 7260 | 0 | Ipsilat. Brach. Plex. (max point dose) | ?? | Ipsilat. Brach. Plex. (max point dose) | ?? | TRUE | Ipsilat. Brach. Plex. (max point dose) | ?? | Ipsilat. Brach. Plex. (max point dose) | ?? | TRUE | Chestwall (rib) (max point dose) | 7044 | Chestwall (rib) (max point dose) | 7044 | 9.0949e-13 | Chestwall (rib) (max point dose) | 7320 | Chestwall (rib) (max point dose) | 7320 | 0 | Ipsilat. Brach. Plex. (max point dose) | ?? | Ipsilat. Brach. Plex. (max point dose) | ?? | TRUE | Ipsilat. Brach. Plex. (max point dose) | ?? | Ipsilat. Brach. Plex. (max point dose) | ?? | TRUE | *Chestwall (rib) (max point dose) | 2605.1 | *Chestwall (rib) (max point dose) | 2605.1 | 0 | *Chestwall (rib) (max point dose) | 2472.2 | *Chestwall (rib) (max point dose) | 2472.2 | 0 | *Chestwall (rib) (max point dose) | 4716.9 | *Chestwall (rib) (max point dose) | 4716.9 | 0 | *Chestwall (rib) (max point dose) | 3488.3 | *Chestwall (rib) (max point dose) | 3488.3 | 0 | *Chestwall (rib) (max point dose) | 2450 | *Chestwall (rib) (max point dose) | 2449.5 | 0.5 | *Chestwall (rib) (max point dose) | 6296 | 6296.4 | -0.4
Chestwall (rib) V50Gy= | 13.1625 | Chestwall (rib) V50Gy= | 13.149 | 0.013476 | Ipsilat. Brach. Plex. V23.6Gy= | ?? | Ipsilat. Brach. Plex. V23.6Gy= | ?? | TRUE | Ipsilat. Brach. Plex. V23.6Gy= | ?? | Ipsilat. Brach. Plex. V23.6Gy= | ?? | TRUE | Chestwall (rib) V50Gy= | 7.4308 | Chestwall (rib) V50Gy= | 7.4222 | 0.0085671 | Chestwall (rib) V50Gy= | 8.674 | Chestwall (rib) V50Gy= | 8.6619 | 0.012172 | Ipsilat. Brach. Plex. V23.6Gy= | ?? | Ipsilat. Brach. Plex. V23.6Gy= | ?? | TRUE | Ipsilat. Brach. Plex. V23.6Gy= | ?? | Ipsilat. Brach. Plex. V23.6Gy= | ?? | TRUE | *Chestwall (rib) V28.2Gy= | OK | *Chestwall (rib) V28.2Gy= | 0 | FALSE | *Chestwall (rib) V28.2Gy= | OK | *Chestwall (rib) V28.2Gy= | 0 | FALSE | *Chestwall (rib) V28.2Gy= | 0.8 | *Chestwall (rib) V28.2Gy= | 6.8456 | -6.0456 | *Chestwall (rib) V28.2Gy= | 2.5 | *Chestwall (rib) V28.2Gy= | 2.549 | -0.04905 | *Chestwall (rib) V28.2Gy= | 0 | *Chestwall (rib) V28.2Gy= | 0 | 0 | *Chestwall (rib) V28.2Gy= | 30 | 29.7168 | 0.2832
(max point dose) | 0 | Trachea (max point dose) | 18 | -18 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | (max point dose) | 0 | Trachea (max point dose) | 1452 | -1452 | (max point dose) | 0 | Trachea (max point dose) | 54 | -54 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | Skin V30Gy= | 0 | Skin V30Gy= | 0 | 0 | *Chestwall (rib) V30Gy= | OK | *Chestwall (rib) V30Gy= | 0 | FALSE | *Chestwall (rib) V30Gy= | OK | *Chestwall (rib) V30Gy= | 0 | FALSE | *Chestwall (rib) V30Gy= | 4.8 | *Chestwall (rib) V30Gy= | 4.8319 | -0.0319 | *Chestwall (rib) V30Gy= | 1.2 | *Chestwall (rib) V30Gy= | 1.2179 | -0.01786 | *Chestwall (rib) V30Gy= | 0 | *Chestwall (rib) V30Gy= | 0 | 0 | *Chestwall (rib) V30Gy= | 24 | 24.5536 | -0.5536
V60Gy = | 0 | Trachea V60Gy = | 0 | 0 | Heart (max point dose) | 1425.6 | Heart (max point dose) | 1425.6 | 0 | Heart (max point dose) | 1243.2 | Heart (max point dose) | 1243.2 | 2.2737e-13 | V60Gy = | 0 | Trachea V60Gy = | 0 | 0 | V60Gy = | 0 | Trachea V60Gy = | 0 | 0 | Heart (max point dose) | 96 | Heart (max point dose) | 96 | 0 | Heart (max point dose) | 129.6 | Heart (max point dose) | 129.6 | 0 | 0 | 0 | Trachea | 10.4 | -10.4 | 0 | 0 | Trachea | 692.2 | -692.2 | 0 | 0 | Trachea | 29.7 | -29.7 | 0 | 0 | Trachea | 19 | -19 | 0 | 0 | Trachea | 684.7 | -684.7 | Trachea | 0 | 166.5 | -166.5
(max point dose) | 0 | Bronchus (max point dose) | 48 | -48 | Heart V28Gy= | 0 | Heart V28Gy= | 0 | 0 | Heart V28Gy= | 0 | Heart V28Gy= | 0 | 0 | (max point dose) | 0 | Bronchus (max point dose) | 96 | -96 | (max point dose) | 0 | Bronchus (max point dose) | 2316 | -2316 | Heart V28Gy= | 0 | Heart V28Gy= | 0 | 0 | Heart V28Gy= | 0 | Heart V28Gy= | 0 | 0 | 0 | 0 | Bronchus | 1194 | -1194 | 0 | 0 | Bronchus | 443.3 | -443.3 | 0 | 0 | Bronchus | 0 | 0 | 0 | 0 | Bronchus | 0 | 0 | 0 | 0 | Bronchus | 0 | 0 | Bronchus | 0 | 0 | 0
V36Gy= | 0 | Bronchus V36Gy= | 0 | 0 | Esophagus (max point dose) | 1425.6 | Esophagus (max point dose) | 1425.6 | 0 | Esophagus (max point dose) | 763.2 | Esophagus (max point dose) | 763.2 | 0 | V36Gy= | 0 | Bronchus V36Gy= | 0 | 0 | V36Gy= | 0 | Bronchus V36Gy= | 0 | 0 | Esophagus (max point dose) | 566.4 | Esophagus (max point dose) | 566.4 | 0 | Esophagus (max point dose) | 1406.4 | Esophagus (max point dose) | 1406.4 | -2.2737e-13 | Proximal Trachea and Bronchial Tree (max point dose) | 1194 | Proximal Trachea and Bronchial Tree (max point dose) | ?? | FALSE | Proximal Trachea and Bronchial Tree (max point dose) | 692.2 | Proximal Trachea and Bronchial Tree (max point dose) | ?? | FALSE | Proximal Trachea and Bronchial Tree (max point dose) | 1124.7 | Proximal Trachea and Bronchial Tree (max point dose) | ?? | FALSE | Proximal Trachea and Bronchial Tree (max point dose) | 65 | Proximal Trachea and Bronchial Tree (max point dose) | ?? | FALSE | Proximal Trachea and Bronchial Tree (max point dose) | 1853 | Proximal Trachea and Bronchial Tree (max point dose) | ?? | FALSE | Proximal Trachea and Bronchial Tree (max point dose) | 167 | ?? | FALSE
Proximal Trachea & Bronch. Tree: V60Gy £ 5cc (max point dose) | 240 | Proximal Trachea & Bronch. Tree: (max point dose) | 48 | 192 | Esophagus V18.8Gy= | 0 | Esophagus V18.8Gy= | 0 | 0 | Esophagus V18.8Gy= | 0 | Esophagus V18.8Gy= | 0 | 0 | Proximal Trachea & Bronch. Tree: V60Gy £ 5cc (max point dose) | 1452 | Proximal Trachea & Bronch. Tree: (max point dose) | 1452 | 0 | Proximal Trachea & Bronch. Tree: V60Gy £ 5cc (max point dose) | 5724 | Proximal Trachea & Bronch. Tree: (max point dose) | 2316 | 3408 | Esophagus V18.8Gy= | 0 | Esophagus V18.8Gy= | 0 | 0 | Esophagus V18.8Gy= | 0 | Esophagus V18.8Gy= | 0 | 0 | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | ?? | TRUE
Proximal Trachea & Bronch. Tree: V60Gy £ 5cc V60Gy = | 0 | Proximal Trachea & Bronch. Tree: V60Gy = | ?? | FALSE | *Chestwall (rib) (max point dose) | 5947.2 | *Chestwall (rib) (max point dose) | 5947.2 | 0 | *Chestwall (rib) (max point dose) | 2342.4 | *Chestwall (rib) (max point dose) | 2342.4 | 4.5475e-13 | Proximal Trachea & Bronch. Tree: V60Gy £ 5cc V60Gy = | 0 | Proximal Trachea & Bronch. Tree: V60Gy = | ?? | FALSE | Proximal Trachea & Bronch. Tree: V60Gy £ 5cc V60Gy = | 0 | Proximal Trachea & Bronch. Tree: V60Gy = | ?? | FALSE | *Chestwall (rib) (max point dose) | 4838.4 | *Chestwall (rib) (max point dose) | 4838.4 | 0 | *Chestwall (rib) (max point dose) | 5995.2 | *Chestwall (rib) (max point dose) | 5995.2 | 0 | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | ?? | TRUE
Stomach and Intestines (max point dose) | ?? | Stomach and Intestines (max point dose) | ?? | TRUE | *Chestwall (rib) V40Gy= | 10.8067 | *Chestwall (rib) V40Gy= | 10.7934 | 0.013312 | *Chestwall (rib) V40Gy= | 0 | *Chestwall (rib) V40Gy= | 0 | 0 | Stomach and Intestines (max point dose) | 0 | Stomach and Intestines (max point dose) | ?? | FALSE | Stomach and Intestines (max point dose) | ?? | Stomach and Intestines (max point dose) | ?? | TRUE | *Chestwall (rib) V40Gy= | 0.77112 | *Chestwall (rib) V40Gy= | 0.76777 | 0.0033482 | *Chestwall (rib) V40Gy= | 8.9172 | *Chestwall (rib) V40Gy= | 8.9064 | 0.010805 | Radiation Oncologist: | ?? | Radiation Oncologist: | ?? | TRUE | Radiation Oncologist: | ?? | Radiation Oncologist: | ?? | TRUE | Radiation Oncologist: | ?? | Radiation Oncologist: | ?? | TRUE | Radiation Oncologist: | ?? | Radiation Oncologist: | ?? | TRUE | Radiation Oncologist: | ?? | Radiation Oncologist: | ?? | TRUE | Radiation Oncologist: | ?? | ?? | TRUE
Stomach and Intestines V36Gy= | ?? | Stomach and Intestines V36Gy= | ?? | TRUE | *Chestwall (rib) V30Gy= | 23.716 | *Chestwall (rib) V30Gy= | 23.716 | 0 | *Chestwall (rib) V30Gy= | 0 | *Chestwall (rib) V30Gy= | 0 | 0 | Stomach and Intestines V36Gy= | 0 | Stomach and Intestines V36Gy= | ?? | FALSE | Stomach and Intestines V36Gy= | ?? | Stomach and Intestines V36Gy= | ?? | TRUE | *Chestwall (rib) V30Gy= | 6.5726 | *Chestwall (rib) V30Gy= | 6.5726 | 0 | *Chestwall (rib) V30Gy= | 20.3863 | *Chestwall (rib) V30Gy= | 20.3863 | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0
Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | (max point dose) | 0 | Trachea (max point dose) | 19.2 | -19.2 | (max point dose) | 0 | Trachea (max point dose) | 19.2 | -19.2 | 0 | Dosimetrist: | Dosimetrist: | ?? | FALSE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | (max point dose) | 0 | Trachea (max point dose) | 628.8 | -628.8 | (max point dose) | 0 | Trachea (max point dose) | 1444.8 | -1444.8 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
Physicist: | ?? | Physicist: | ?? | TRUE | V15.6Gy= | 0 | Trachea V15.6Gy= | 0 | 0 | V15.6Gy= | 0 | Trachea V15.6Gy= | 0 | 0 | 0 | Physicist: | Physicist: | ?? | FALSE | Physicist: | ?? | Physicist: | ?? | TRUE | V15.6Gy= | 0 | Trachea V15.6Gy= | 0 | 0 | V15.6Gy= | 0 | Trachea V15.6Gy= | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
0 | ?? | Radiation Oncologist: | ?? | TRUE | (max point dose) | 0 | Bronchus (max point dose) | 585.6 | -585.6 | (max point dose) | 0 | Bronchus (max point dose) | 936 | -936 | 0 | 0 | Radiation Oncologist: | ?? | FALSE | 0 | ?? | Radiation Oncologist: | ?? | TRUE | (max point dose) | 0 | Bronchus (max point dose) | 849.6 | -849.6 | (max point dose) | 0 | Bronchus (max point dose) | 1444.8 | -1444.8 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
NOTES: | PTV in chest wall; V50 Chestwall-PTV = 7.4 | NOTES: | 0 | FALSE | V15.6Gy= | 0 | Bronchus V15.6Gy= | 0 | 0 | V15.6Gy= | 0 | Bronchus V15.6Gy= | 0 | 0 | 0 | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 | V15.6Gy= | 0 | Bronchus V15.6Gy= | 0 | 0 | V15.6Gy= | 0 | Bronchus V15.6Gy= | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | Proximal Trachea and Bronchial Tree (max point dose) | 1281.6 | Proximal Trachea and Bronchial Tree (max point dose) | 585.6 | 696 | Proximal Trachea and Bronchial Tree (max point dose) | 5208 | Proximal Trachea and Bronchial Tree (max point dose) | 936 | 4272 |  |  |  |  | 0 |  |  |  |  | 0 | Proximal Trachea and Bronchial Tree (max point dose) | 1526.4 | Proximal Trachea and Bronchial Tree (max point dose) | 849.6 | 676.8 | Proximal Trachea and Bronchial Tree (max point dose) | 1444.8 | Proximal Trachea and Bronchial Tree (max point dose) | 1444.8 | -2.2737e-13 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | Proximal Trachea and Bronchial Tree V15.6Gy= | 0 | Proximal Trachea and Bronchial Tree V15.6Gy= | ?? | FALSE | Proximal Trachea and Bronchial Tree V15.6Gy= | 11.1879 | Proximal Trachea and Bronchial Tree V15.6Gy= | ?? | FALSE |  |  |  |  | 0 |  |  |  |  | 0 | Proximal Trachea and Bronchial Tree V15.6Gy= | 0 | Proximal Trachea and Bronchial Tree V15.6Gy= | ?? | FALSE | Proximal Trachea and Bronchial Tree V15.6Gy= | 0 | Proximal Trachea and Bronchial Tree V15.6Gy= | ?? | FALSE |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | Stomach and Intestines (max point dose) | ?? | Stomach and Intestines (max point dose) | ?? | TRUE | Stomach and Intestines (max point dose) | ?? | Stomach and Intestines (max point dose) | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 | Stomach and Intestines (max point dose) | ?? | Stomach and Intestines (max point dose) | ?? | TRUE | Stomach and Intestines (max point dose) | ?? | Stomach and Intestines (max point dose) | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | Stomach and Intestines V21Gy= | ?? | Stomach and Intestines V21Gy= | ?? | TRUE | Stomach and Intestines V21Gy= | ?? | Stomach and Intestines V21Gy= | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 | Stomach and Intestines V21Gy= | ?? | Stomach and Intestines V21Gy= | ?? | TRUE | Stomach and Intestines V21Gy= | ?? | Stomach and Intestines V21Gy= | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE | Dosimetrist: | ?? | Dosimetrist: | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | Physicist: | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 | Physicist: | ?? | Physicist: | ?? | TRUE | Physicist: | ?? | Physicist: | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | 0 | ?? | Radiation Oncologist: | ?? | TRUE | 0 | ?? | Radiation Oncologist: | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 | 0 | ?? | Radiation Oncologist: | ?? | TRUE | 0 | ?? | Radiation Oncologist: | ?? | TRUE |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | NOTES: | 0 | NOTES: | 0 | 0 | NOTES: | 0 | NOTES: | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0

## output (2)
EvaluationSheet 54Gy 3F | SABR6.dvh | Test_results | Difference | reference_name | reference_laterality | reference_type | Item Name | CellAddress | Unit | CellFormat | constructor | Item Label
Patient: | PT6 | PT6 | TRUE | Patient Name |  | Plan Property | Patient | D4 |  | General |  | Patient:
CR#: | 6 | 6 | 0 | Patient ID |  | Plan Property | PatientID | D5 |  | @ |  | CR#:
Site: | LUNG | LUNG | TRUE | Body Region |  | Plan Property | Site | L4 |  | @ |  | Site:
Plan Name: | LUNL | LUNL | TRUE | Plan |  | Plan Property | PlanName | L5 |  | @ |  | Plan Name:
Prescription Dose (cGy): | 5400 | 5400 | 0 | Prescribed dose |  | Plan Property | Dose | H4 | cGy | General |  | Prescription Dose (cGy):
Fractions: | 3 | 3 | 0 | Fractions |  | Plan Property | Fractions | H5 |  | 0 |  | Fractions:
GTV Volume (cc) |  | ?? |  | IGTV |  | Structure | GTV_Volume | G7 | cc | 0.00 | Volume | GTV Volume (cc)
ITV Volume (cc): | 11.94 | 11.9 | 0.04 | ITV |  | Structure | ITV_Volume | G8 | cc | 0.00 | Volume | ITV Volume (cc):
PTV Volume (cc) | 34.52 | 34.5 | 0.02 | PTV |  | Structure | PTV_Volume | G9 | cc | 0.00 | Volume | PTV Volume (cc)
Total Lung Volume (cc) | 7331 | 7331 | 0 | Lung | Both | Structure | LungVolume | G10 | cc | 0.00 | Volume | Total Lung Volume (cc)
Plan Normalization Value (%) | 0.719 | ?? |  | Normalization |  | Plan Property | Normalization | H14 | % | 0.0% |  | Plan Normalization Value (%)
Dose @COM-PTV (cGy) | 6711.3 | ?? |  | COM-PTV |  | Reference Point | Ref Point | G15 | % | 0.00% |  | Dose @COM-PTV (cGy)
PTV- Minimum Dose | 4562 | 4561.8 | 0.2 | PTV |  | Structure | PTV_Min | G17 | cGy | 0.0% | Min Dose | PTV- Minimum Dose
PTV - V100(%) | 0.95 | 0.95056 | -0.00055942 | PTV |  | Structure | PTV_V100 | H18 | % | 0.0% | V 100 % | PTV - V100(%)
PTV - V90 (%) | 0.99 | 0.99729 | -0.0072899 | PTV |  | Structure | PTV_V90 | H19 | % | 0.0% | V 90 % | PTV - V90 (%)
Location V105% - PTV (cc) = | 2.35 | 2.4 | -0.05 | Dose105[%]-PTV |  | Structure | HighDoseSpillage | G21 | cc | 0.00 | Volume | HIGH Dose Spillage Location
Volume V100% (cc) = | 40.34 | 40.3 | 0.04 | Dose 100[%] |  | Structure | HighDoseSpillageVolume | G22 | cc | 0.00 | Volume | HIGH Dose Spillage Volume
Location D³2cm (%) = | 3625 | ?? | FALSE | Body-PTV+20 |  | Structure | LowDoseSpillage | G24 | % | 0.0 | Max Dose | LOW Dose Spillage Location
Volume(R50) | 152.4 | ?? | FALSE | Dose 50[%] |  | Structure | LowDoseSpillageVolume | G25 | cc | 0.00 | Volume | LOW Dose Spillage Volume
Mean Dose (contralateral lung) | 84.7 | ?? | FALSE | Lung | Contralateral | Structure | ContralateralLungMeanDose | G29 | cGy | 0.0 | Mean Dose | Contralateral Lung Mean Dose
Mean Dose (Total lung) | 233.7 | 233.7 | 0 | Lung | Both | Structure | LungMeanDose | G30 | cGy | 0.0 | Mean Dose | Total Lung Mean Dose
V20 (Total Lung) in % | 0.022 | 0.02265 | -0.00065025 | Lung | Both | Structure | LungV20 | G31 | % | 0.0% | V 2000 cGy | Total Lung V20
Lung-Basic Function V11.6Gy= | 355 | 354.187 | 0.813 | Lung | Both | Structure | LungV1160 | G32 | cc | 0.0% | V 1160 cGy | Lung-Basic Function
Lung-Pneumonitis V12.4Gy= | 326 | 327.509 | -1.509 | Lung | Both | Structure | LungV1240 | G33 | cc | 0.0% | V 1240 cGy | Lung-Pneumonitis
Aorta (max point dose) | 1560 | 1559.5 | 0.5 | Aorta |  | Structure | AortaMaxDose | G35 | cGy | 0.0 | Max Dose | Aorta Maximum Dose
Artery-Pulmnory (max point dose) | 1529 | 1529.1 | -0.1 | PulmonaryArtery |  | Structure | PulmonaryArteryMaxDose | G36 | cGy | 0.0 | Max Dose | Artery-Pulmonary Maximum Dose
Spinal Canal (max point dose) | 473 | 473.3 | -0.3 | Spinal Canal |  | Structure | SpineMaxDose | G37 | cGy | 0.0 | Max Dose | Spinal Canal Maximum Dose
Spinal Canal-PRV 5mm (max point dose) | 501 | 500.8 | 0.2 | PRV5 SpinalCanal |  | Structure | SpinePRV5MaxDose | G38 | cGy | 0.0 | Max Dose | Spinal Canal-PRV 5mm
Ipsilat Brach.Plex (max point dose) | 0 | ?? |  | Ipsilat. Brach. Plex. |  | Structure | IpsBrachPlexMaxDose | G39 | cGy | 0.0 | Max Dose | Ipsilat. Brach. Plex. Maximum Dose
Skin V30Gy= | 0 | 0 | 0 | Skin |  | Structure | SkinV30 | G40 | cc | 0.00 | V 3000 cGy | Skin
Heart (max point dose) | 173 | 173.2 | -0.2 | Heart |  | Structure | HeartMaxDose | G41 | cGy | 0.0 | Max Dose | Heart Maximum Dose
Esophagus (max point dose) | 878 | 878.1 | -0.1 | Esophagus |  | Structure | EsoMaxDose | G42 | cGy | 0.0 | Max Dose | Esophagus Maximum Dose
*Chestwall (rib) (max point dose) | 6296 | 6296.4 | -0.4 | Chest Wall |  | Structure | ChestWallMaxDose | G43 | cGy | 0.0 | Max Dose | Chestwall (rib) Maximum Dose
*Chestwall (rib) V28.2Gy= | 30 | 29.7168 | 0.2832 | Chest Wall |  | Structure | ChestWallV2820 | G44 | cc | 0.00 | V 2820 cGy | Chestwall (rib) V28.2Gy
*Chestwall (rib) V30Gy= | 24 | 24.5536 | -0.5536 | Chest Wall |  | Structure | ChestWallV30 | G45 | cc | 0.00 | V 3000 cGy | Chestwall (rib) V30Gy
Trachea | 0 | 166.5 | -166.5 | Trachea |  | Structure | ProxTrachMaxDose | A47 | cGy | 0.0 | Max Dose | Proximal Trachea Maximum Dose
Bronchus | 0 | 0 | 0 | BronchialTree |  | Structure | ProxBronchMaxDose | B47 | cGy | 0.0 | Max Dose | Proximal Bronchial Tree Maximum Dose
Proximal Trachea and Bronchial Tree (max point dose) | 167 | ?? | FALSE | V105% - PTV (cc) / PTV Volume (cc) |  | Ratio | V105-PTV_PTVratio | H21 |  | 0.0% | Ratio | V105% - PTV (cc) / PTV Volume (cc)
Dosimetrist: | ?? | ?? | TRUE | V100% (cc) / PTV Volume (cc) |  | Ratio | V100_PTV_ratio | H22 |  | 0.0% | Ratio | V100% (cc) / PTV Volume (cc)
Physicist: | ?? | ?? | TRUE | V50% (cc) / PTV Volume (cc) |  | Ratio | V50_PTV_ratio | H25 |  | 0.0% | Ratio | V50% (cc) / PTV Volume (cc)
Radiation Oncologist: | ?? | ?? | TRUE | Dosimetrist |  | Plan Property | Dosimetrist |  |  |  |  | Dosimetrist:
NOTES: | 0 | 0 |  | Physicist |  | Plan Property | Physicist |  |  |  |  | Physicist:
|  |  |  | RO |  | Plan Property | RO |  |  |  |  | Radiation Oncologist:

## Sheet3
Body-PTV+20, None | Body-PTV+2CM, None | Body_(PTV+2CM), None
BronchialTree, None | Prox Bronch Zone, None | PRV20, None | PRV20 Brl Tree, None | ProxBronchialZon, None | Brl Tree, None
Chest Wall, None | Chest_Wall, None
Dose 100[%], None | Dose 100[%]1, None | Dose 100[%]2, None | Dose 100%, None
Dose 105[%], None | Dose 105[%]1, None | Dose 105[%]2, None | Dose 105%, None
Dose 50[%], None | Dose 50%, None | Dose 50[%]1, None | Dose 50[%]2, None | Dose 50[%]3, None
Dose105[%]-PTV, None | D105%-PTV, None | D105%-PTV1, None | D105%-PTV2, None | 105-PTV, None | Dose 105%-PTV, None
IGTV, None | IGTV 2, None | IGTV 1, None | IGTV, None
Ipsilat. Brach. Plex., Ipsilateral | BrachialPlexus {Lat...ndicator}, 1 | Br Plexus, None | Brachial Plexus {La...ndicator}, 2 | Ipsilat_Brach_Plex, None
Lung, Both | Whole_Lung, None | Lung_{LatIndicator}, 1
PRV5 SpinalCanal, None | prv SC 5mm, None | PRV 5mm, None | PRVSC5mm, None
PTV, None | PTV1, None | PTV2, None | PTVfinal, None
ProxBronchZone, Ipsilateral | {LatIndicator}Bronch Zone, 3
PulmonaryArtery, None | Pulmonary_Artery, None
Spinal Canal, None | Spinal_Canal, None
Trachea, None | PRV20, None | PRV20 Brl Tree, None | ProxBronchialZon, None
alias_index | ('Structure', 'Lung', 'Contralateral')

## Sheet4
PlanLaterality | ReportItemLaterality | Size | Value | Type
('Both' | 'Both' | 1) | 'B' | str
('Both' | 'Both' | 3) | 'Whole' | str
('Both' | 'Proximal' | 3) | 'Prox' | str
('Left' | 'Both' | 1) | 'B' | str
('Left' | 'Both' | 3) | 'Whole' | str
('Left' | 'Contralateral' | 1) | 'R' | str
('Left' | 'Contralateral' | 2) | 'RT' | str
('Left' | 'Contralateral' | 3) | 'Dist' | str
('Left' | 'Ipsilateral' | 1) | 'L' | str
('Left' | 'Ipsilateral' | 2) | 'LT' | str
('Left' | 'Ipsilateral' | 3) | 'Prox' | str
('Left' | 'Proximal' | 1) | 'L' | str
('Left' | 'Proximal' | 2) | 'LT' | str
('Left' | 'Proximal' | 3) | 'Left' | str
('None' | 'Both' | 1) | 'B' | str
('None' | 'Both' | 3) | 'Whole' | str
('None' | 'Proximal' | 3) | 'Prox' | str
('Right' | 'Both' | 1) | 'B' | str
('Right' | 'Both' | 3) | 'Whole' | str
('Right' | 'Contralateral' | 1) | 'L' | str
('Right' | 'Contralateral' | 2) | 'LT' | str
('Right' | 'Contralateral' | 3) | 'Dist' | str
('Right' | 'Ipsilateral' | 1) | 'R' | str
('Right' | 'Ipsilateral' | 2) | 'RT' | str
('Right' | 'Ipsilateral' | 3) | 'Prox' | str
('Right' | 'Proximal' | 1) | 'R' | str
('Right' | 'Proximal' | 2) | 'RT' | str
('Right' | 'Proximal' | 3) | 'Right' | str