## SABR 60 in 8
SABR 60 in 8
name | Old Cell | New Cell | name | Cell
Patient | D4 | D4 | Patient | D4
PatientID | D5 | D5 | PatientID | D5
Site | L4 | L4 | Site | L4
PlanName | L5 | L5 | PlanName | L5
GTV_Volume | G7 | G7 | GTV_Volume | G7
ITV_Volume | G8 | G8 | ITV_Volume | G8
PTV_Volume | G9 | G9 | PTV_Volume | G9
LungVolume | G10 | G10 | LungVolume | G10
Dose | H4 | H4 | Dose | H4
Fractions | H5 | H5 | Fractions | H5
Normalization | G14 | G14 | Normalization | G14
PTV_Min | G16 | G17 | PTV_Min | G15
Ref Point | G15 | G15 | PTV_Min | G16
PTV_V100 | G17 | G18 | PTVV100 | G17
PTV_V90 | G18 | G19 | PTVV90 | G18
High_Dose_Spillage | G20 | G21 | High_Dose_Spillage | G20
High_Dose_SpillageVolume | G21 | G22 | High_Dose_SpillageVolume | G21
LowDoseSpillage | G23 | G24 | LowDoseSpillage | G23
LowDoseSpillageVolume | G24 | G25 | LowDoseSpillageVolume | G24
ContralateralLungMeanDose | G28 | G29 | ContralateralLungMeanDose | G28
LungMeanDose | G29 | G30 | LungMeanDose | G29
LungV20 | G30 | G31 | LungV20 | G30
AortaMaxDose | G32 | G33 | AortaMaxDose | G32
AortaV60 | G33 | G34 | AortaV60 | G33
PulmonaryArteryMaxDose | G34 | G35 | PulmonaryArteryMaxDose | G34
PulmonaryArteryV60 | G35 | G36 | PulmonaryArteryV60 | G35
SpineMaxDose | G36 | G37 | SpineMaxDose | G36
IpsBrachPlexMaxDose | G37 | G38 | IpsBrachPlexMaxDose | G37
IpsBrachPlexV30 | G38 | G39 | IpsBrachPlexV30 | G38
HeartMaxDose | G39 | G40 | HeartMaxDose | G39
HeartV60 | G40 | G41 | HeartV60 | G40
EsoMaxDose | G41 | G42 | EsoMaxDose | G41
ChestWallMaxDose | G42 | G43 | ChestWallMaxDose | G42
ChestWallV50 | G43 | G44 | ChestWallV50 | G43
ProxTrachMaxDose | A44 | A45 | ProxTrachMaxDose | A44
ProxBronchMaxDose | B44 | B45 | ProxBronchMaxDose | B44
ProxTrachV60 | A45 | A46 | ProxTrachV60 | A45
ProxBronchV60 | B45 | B46 | ProxBronchV60 | B45
StomachMaxDose | G46 | G47 | StomachMaxDose | G46
StomachV36 | G47 | G48 | StomachV36 | G47
V105- PTV_PTV_ratio | H20 | H21 | V105- PTV_PTV_ratio | H20
V100_PTV_ratio | H21 | H22 | V100_PTV_ratio | H21
V50_PTV_ratio | H24 | H22 | V50_PTV_ratio | H24

## SABR 60 in 8 Log
SABR 60 in 8
name= | Patient | Original Cell= | D4 | Old Cell= | D4 | NewCell= | D4
name= | PatientID | Original Cell= | D5 | Old Cell= | D5 | NewCell= | D5
name= | Site | Original Cell= | L4 | Old Cell= | L4 | NewCell= | L4
name= | PlanName | Original Cell= | L5 | Old Cell= | L5 | NewCell= | L5
name= | GTV_Volume | Original Cell= | G7 | Old Cell= | G7 | NewCell= | G7
name= | ITV_Volume | Original Cell= | G8 | Old Cell= | G8 | NewCell= | G8
name= | PTV_Volume | Original Cell= | G9 | Old Cell= | G9 | NewCell= | G9
name= | LungVolume | Original Cell= | G10 | Old Cell= | G10 | NewCell= | G10
name= | Dose | Original Cell= | H4 | Old Cell= | H4 | NewCell= | H4
name= | Fractions | Original Cell= | H5 | Old Cell= | H5 | NewCell= | H5
name= | Normalization | Original Cell= | G14 | Old Cell= | G14 | NewCell= | G14
name= | PTV_Min | Original Cell= | G17 | Old Cell= | G16 | NewCell= | G17
name= | Ref Point | Original Cell= | G15 | Old Cell= | G15 | NewCell= | G15
name= | PTV_V100 | Original Cell= | G18 | Old Cell= | G17 | NewCell= | G18
name= | PTV_V90 | Original Cell= | G19 | Old Cell= | G18 | NewCell= | G19
name= | High_Dose_Spillage | Original Cell= | G21 | Old Cell= | G20 | NewCell= | G21
name= | High_Dose_SpillageVolume | Original Cell= | G22 | Old Cell= | G21 | NewCell= | G22
name= | LowDoseSpillage | Original Cell= | G24 | Old Cell= | G23 | NewCell= | G24
name= | LowDoseSpillageVolume | Original Cell= | G25 | Old Cell= | G24 | NewCell= | G25
name= | ContralateralLungMeanDose | Original Cell= | G29 | Old Cell= | G28 | NewCell= | G29
name= | LungMeanDose | Original Cell= | G30 | Old Cell= | G29 | NewCell= | G30
name= | LungV20 | Original Cell= | G31 | Old Cell= | G30 | NewCell= | G31
name= | AortaMaxDose | Original Cell= | G33 | Old Cell= | G32 | NewCell= | G33
name= | AortaV60 | Original Cell= | G34 | Old Cell= | G33 | NewCell= | G34
name= | PulmonaryArteryMaxDose | Original Cell= | G35 | Old Cell= | G34 | NewCell= | G35
name= | PulmonaryArteryV60 | Original Cell= | G36 | Old Cell= | G35 | NewCell= | G36
name= | SpineMaxDose | Original Cell= | G37 | Old Cell= | G36 | NewCell= | G37
name= | IpsBrachPlexMaxDose | Original Cell= | G38 | Old Cell= | G37 | NewCell= | G38
name= | IpsBrachPlexV30 | Original Cell= | G39 | Old Cell= | G38 | NewCell= | G39
name= | HeartMaxDose | Original Cell= | G40 | Old Cell= | G39 | NewCell= | G40
name= | HeartV60 | Original Cell= | G41 | Old Cell= | G40 | NewCell= | G41
name= | EsoMaxDose | Original Cell= | G42 | Old Cell= | G41 | NewCell= | G42
name= | ChestWallMaxDose | Original Cell= | G43 | Old Cell= | G42 | NewCell= | G43
name= | ChestWallV50 | Original Cell= | G44 | Old Cell= | G43 | NewCell= | G44
name= | ProxTrachMaxDose | Original Cell= | A45 | Old Cell= | A44 | NewCell= | A45
name= | ProxBronchMaxDose | Original Cell= | B45 | Old Cell= | B44 | NewCell= | B45
name= | ProxTrachV60 | Original Cell= | A46 | Old Cell= | A45 | NewCell= | A46
name= | ProxBronchV60 | Original Cell= | B46 | Old Cell= | B45 | NewCell= | B46
name= | StomachMaxDose | Original Cell= | G47 | Old Cell= | G46 | NewCell= | G47
name= | StomachV36 | Original Cell= | G48 | Old Cell= | G47 | NewCell= | G48
name= | V105- PTV_PTV_ratio | Original Cell= | H21 | Old Cell= | H20 | NewCell= | H21
name= | V100_PTV_ratio | Original Cell= | H22 | Old Cell= | H21 | NewCell= | H22
name= | V50_PTV_ratio | Original Cell= | H22 | Old Cell= | H24 | NewCell= | H22

## EvaluationSheet 60Gy 8F
| NOTE: Must fill in information in YELLOW cells with "??". | [5 empty] | Use the ORIGINAL file for each NEW PLAN or modification
SABR Plan Evaluation Sheet for 7.5Gy/fr Schedules: (60 Gy in 8F)
(Tumours located within the lung parenchyma, away from the OAR’s and chest wall)
|  | Patient: |  |  | Prescription Dose (cGy): |  |  |  |  | Site:
|  | CR#: |  |  | Fractions: |  |  |  |  | Plan Name:
Target/OAR Volumes:
|  | GTV Volume (cc) | [10 empty] | NOTE:
|  | ITV Volume (cc): | [10 empty] | The spreadsheet is protected so that information/farmula can not be change inadvertently.
|  | PTV Volume (cc) | [10 empty] | (There is no password to unprotect the sheet.
Total Lung Volume (cc)
| Normalization: |  |  | 100% Dose covers 95% of Target Volume
[6 empty] | Ref Dose (%) / | Calculated Value | Calculated |  | Protocol | Acceptable | Comments
[6 empty] | Ref Volume (cc) |  |  |  | Requirement
|  | Plan Normalization Value (%) |  |  |  | ?? |  |  |  | 60%-95% | ?? | See "Prescription" on Eclipse
|  | Dose @COM-PTV (cGy) |  |  |  | ?? |  |  |  | 111.1%-166.7% | ?? | Preferebly <140%
PTV Dose Inhomogeneity:
|  | PTV- Minimum Dose |  |  |  | ?? |  |  |  | 60%-95% | ??
|  | PTV - V100(%) |  |  |  | ?? |  |  |  | 95% | ?? | PTV (V48Gy)
|  | PTV - V90 (%) |  |  |  | ?? |  |  |  | 99% | ?? | PTV (V43.2Gy)
HIGH Dose Spillage:
|  | Location | V105% - PTV (cc) = |  |  | ?? | #VALUE! |  |  | <15% | ?? | Volume of the structure (Dose 105% - PTV), D105% = 50.4 Gy
|  | Volume | V100% (cc) = |  |  | ?? | #VALUE! |  |  | <1.2 | ?? | Ratio VD100%/VPTV (On DVH see BODY volume for 100% prescription dose)
LOW Dose Spillage:
|  | Location | D³2cm (%) = |  |  | ?? |  |  |  | #N/A | ?? | Max dose (in %) ³2cm from PTV (structure BODY-(PTV+2cm)), should be £ R50 value in Table 1, MINOR deviation acceptable
|  | Volume | V50% (cc) = |  |  | ?? | #VALUE! |  |  | #N/A | ?? | Ratio VD50%/VPTV should be£ R50 value in Table 1, MINOR deviation acceptable
| DOSE TO OARs |  |  |  |  | Maximum Dose (cGy) | Calculated Value |  |  | Tolerance
[6 empty] | / Volume (cc) |  |  |  | (cGy) / (cc)
Lung Dose
|  | Mean Dose (contralateral lung) |  |  |  | ?? |  |  |  |  | ??
|  | Mean Dose (Total lung) |  |  |  | ?? |  |  |  |  | ??
|  | V20 (Total Lung) |  | V20Gy (%) = |  | ?? |  |  |  | £10% | ?? | RTOG 0813 and 0236 (Deviations NONE=10%, MINOR=15%)
Other OARs
|  | Aorta |  |  | (max point dose) | ?? |  |  |  | 6400 | ?? | LUSTRE
|  |  | V60Gy £ 10cc |  | V60Gy= | ?? |  |  |  | 10 | ??
|  | Artery-Pulmonary |  |  | (max point dose) | ?? |  |  |  | 6400 | ?? | LUSTRE
|  |  | V60Gy £ 10cc |  | V60Gy= | ?? |  |  |  | 10 | ??
|  | Spinal Canal |  |  | (max point dose) | ?? |  |  |  | 3200 | ?? | RTOG0236
|  | Ipsilat. Brach. Plex. |  |  | (max point dose) | ?? |  |  |  | 3800 | ?? | LUSTRE
|  |  | V30Gy £ 3cc |  | V30Gy= | ?? |  |  |  | 3 | ??
|  | Heart |  |  | (max point dose) | ?? |  |  |  | 6400 | ?? | RTOG0236
|  |  | V60Gy £ 10cc |  | V60Gy= | ?? |  |  |  | 10 | ?? | LUSTRE
|  | Esophagus |  |  | (max point dose) | ?? |  |  |  | 4000 | ?? | LUSTRE
|  | Chestwall (rib) |  |  | (max point dose) | ?? |  |  |  | 6000 | ?? | LUSTRE
Trachea | Bronchus |  | V50Gy £ 5cc |  | V50Gy= | ?? |  |  |  | 5 | ?? | LUSTRE
0 | 0 | Proximal Trachea |  |  | (max point dose) | ?? |  |  |  | 6400 | ?? | RTOG0236
0 | 0 | & Bronch. Tree: V60Gy £ 5cc |  |  | V60Gy = | ?? |  |  |  | 5 | ?? | LUSTRE
|  | Stomach and |  |  | (max point dose) | ?? |  |  |  | 4000 | ?? | LUSTRE
|  | Intestines | V36Gy £ 1cc |  | V36Gy= | ?? |  |  |  | 1 | ?? | LUSTRE
|  | Dosimetrist: |  |  |  | Physicist: |  |  | Radiation Oncologist:
|  | ?? |  |  |  | ?? |  |  |  | ??
NOTES:
Q:\SBRT\Policy\SABR Plan Evaluation Worksheet 4Dec2013.xls

## Report Reference 60 in 8.txt
reference_type | name | reference_name | reference_laterality | unit | reference_constructor | cell_address | cell_format
Plan Property | Patient: | Patient Name |  |  |  | D4 | General
Plan Property | CR#: | Patient ID |  |  |  | D5 | @
Plan Property | Site: | Body Region |  |  |  | L5 | @
Plan Property | Plan Name: | Plan |  |  |  | L5 | @
Structure | GTV Volume (cc) | IGTV |  | cc | Volume | G7 | 0
Structure | ITV Volume (cc): | ITV |  | cc | Volume | G8 | 0
Structure | PTV Volume (cc) | PTV |  | cc | Volume | G9 | 0
Structure | Total Lung Volume (cc) | Lung | Both | cc | Volume | G10 | 0
Plan Property | Prescription Dose (cGy): | Prescribed dose |  | cGy |  | H4 | General
Plan Property | Fractions: |  |  |  |  | H5 | 0
Plan Property | Plan Normalization Value (%) |  |  | % |  | G14 | 0%
Reference Point | Dose @COM-PTV (%) |  |  | % |  | G15 | 0%
Structure | PTV- Minimum Dose (%) | PTV |  | % | Min Dose | G17 | 0%
Structure | PTV - V100(%) | PTV |  | % | V 100 % | G18 | 0%
Structure | PTV - V90 (%) | PTV |  | % | V 90 % | G19 | 0%
Structure | HIGH Dose Spillage Location | Dose105[%]-PTV |  | cc | Volume | G21 | 0
Structure | HIGH Dose Spillage Volume | Dose 100[%] |  | cc | Volume | G22 | 0
Structure | LOW Dose Spillage Location | Body-PTV+20 |  | % | Max Dose | G24 | 0
Structure | LOW Dose Spillage Volume | Dose 50[%] |  | cc | Volume | G25 | 0
Structure | Contralateral Lung Mean Dose | Lung | Contralateral | cGy | Mean Dose | G29 | 0
Structure | Total Lung Mean Dose | Lung | Both | cGy | Mean Dose | G30 | 0
Structure | Total Lung V20 | Lung | Both | % | V 2000 cGy | G31 | 0%
Structure | Aorta Maximum Dose | Aorta |  | cGy | Max Dose | G33 | 0
Structure | Aorta V60Gy | Aorta |  | cc | V 6000 cGy | G34 | 0
Structure | Artery-Pulmonary Maximum Dose | PulmonaryArtery |  | cGy | Max Dose | G35 | 0
Structure | Artery-Pulmonary V60Gy | PulmonaryArtery |  | cc | V 6000 cGy | G36 | 0
Structure | Spinal Canal Maximum Dose | Spinal Canal |  | cGy | Max Dose | G37 | 0
Structure | Ipsilat. Brach. Plex. Maximum Dose | Ipsilat. Brach. Plex. |  | cGy | Max Dose | G38 | 0
Structure | Ipsilat. Brach. Plex. V30Gy | Ipsilat. Brach. Plex. |  | cc | V 3000 cGy | G39 | 0
Structure | Heart Maximum Dose | Heart |  | cGy | Max Dose | G40 | 0
Structure | Heart V60Gy | Heart |  | cc | V 6000 cGy | G41 | 0
Structure | Esophagus Maximum Dose | Esophagus |  | cGy | Max Dose | G42 | 0
Structure | Chestwall (rib) Maximum Dose | Chest Wall |  | cGy | Max Dose | G43 | 0
Structure | Chestwall (rib) V50Gy | Chest Wall |  | cc | V 5000 cGy | G44 | 0
Structure | Proximal Trachea and Bronchial Tree Maximum Dose | PRV20 Brl Tree |  | cGy | Max Dose | G45 | 0
Structure | Proximal Trachea and Bronchial Tree V60Gy | PRV20 Brl Tree |  | cc | V 6000 cGy | G46 | 0
Structure | Stomach and Intestines Maximum Dose | Stomach |  | cGy | Max Dose | G47 | 0
Structure | Stomach and Intestines V36Gy | Stomach |  | cc | V 3600 cGy | G48 | 0
Ratio | V105% - PTV (cc) / PTV Volume (cc) |  |  |  | Ratio | H21 | 0%
Ratio | V100% (cc) / PTV Volume (cc) |  |  |  | Ratio | H22 | 0%
Ratio | V50% (cc) / PTV Volume (cc) |  |  |  | Ratio | H22 | 0%
Plan Property | Dosimetrist:
Plan Property | Physicist:
Plan Property | Radiation Oncologist:

## SABR 48 in 4
SABR 48 in 4
name | Old Cell | New Cell
Patient | D4 | D4
PatientID | D5 | D5
Site | L5 | L4
PlanName | L5 | L5
GTV_Volume | G7 | G7
ITV_Volume | G8 | G8
PTV_Volume | G9 | G9
TotalLungVolume | G10 | G10
Dose | H4 | H4
Fractions | H5 | H5
Normalization | G14 | G14
PTV_Min | G16 | G17
PTV_V100 | G17 | G18
PTV_V90 | G18 | G19
HighDoseSpillage | G20 | G21
HighDoseSpillageVolume | G21 | G22
LowDoseSpillage | G23 | G24
LowDoseSpillageVolume | G24 | G25
ContralateralLungMeanDose | G28 | G29
LungMeanDose | G29 | G30
LungV20 | G30 | G31
LungV1160 | G31 | G32
LungV1240 | G32 | G33
AortaMaxDose | G34 | G35
AortaV40 | G35 | G36
PulmonaryArteryMaxDose | G36 | G37
PulmonaryArteryV40 | G37 | G38
SpineMaxDose | G38 | G39
SpineV2080 | G39 | G40
SpineV1360 | G40 | G41
SpinePRV5MaxDose | G41 | G42
IpsBrachPlexMaxDose | G42 | G43
IpsBrachPlexV2360 | G43 | G44
SkinV30 | G44 | G45
HeartMaxDose | G45 | G46
HeartV28 | G46 | G47
EsoMaxDose | G47 | G48
EsoV1880 | G48 | G49
ChestWallMaxDose | G49 | G50
ChestWallV40 | G50 | G51
ChestWallV30 | G51 | G52
ProxTrachMaxDose | A54 | A54
ProxBronchMaxDose | B53 | B54
ProxTrachV1560 | G54 | A55
ProxBronchV1560 | G54 | B55
StomachMaxDose | G55 | G56
StomachV21 | G56 | G57
V105-PTV_ratio | H20 | H21
V100_PTV_ratio | H21 | H22
V50_PTV_ratio | H24 | H25

## SABR 48 in 4 Log
SABR 48 in 4
name= | Patient | Original Cell= | D4 | Old Cell= | D4 | NewCell= | D4
name= | PatientID | Original Cell= | D5 | Old Cell= | D5 | NewCell= | D5
name= | Site | Original Cell= | L4 | Old Cell= | L5 | NewCell= | L4
name= | PlanName | Original Cell= | L5 | Old Cell= | L5 | NewCell= | L5
name= | GTV_Volume | Original Cell= | G7 | Old Cell= | G7 | NewCell= | G7
name= | ITV_Volume | Original Cell= | G8 | Old Cell= | G8 | NewCell= | G8
name= | PTV_Volume | Original Cell= | G9 | Old Cell= | G9 | NewCell= | G9
name= | TotalLungVolume | Original Cell= | G10 | Old Cell= | G10 | NewCell= | G10
name= | Dose | Original Cell= | H4 | Old Cell= | H4 | NewCell= | H4
name= | Fractions | Original Cell= | H5 | Old Cell= | H5 | NewCell= | H5
name= | Normalization | Original Cell= | G14 | Old Cell= | G14 | NewCell= | G14
name= | PTV_Min | Original Cell= | G17 | Old Cell= | G16 | NewCell= | G17
name= | PTV_V100 | Original Cell= | G18 | Old Cell= | G17 | NewCell= | G18
name= | PTV_V90 | Original Cell= | G19 | Old Cell= | G18 | NewCell= | G19
name= | HighDoseSpillage | Original Cell= | G21 | Old Cell= | G20 | NewCell= | G21
name= | HighDoseSpillageVolume | Original Cell= | G22 | Old Cell= | G21 | NewCell= | G22
name= | LowDoseSpillage | Original Cell= | G24 | Old Cell= | G23 | NewCell= | G24
name= | LowDoseSpillageVolume | Original Cell= | G25 | Old Cell= | G24 | NewCell= | G25
name= | ContralateralLungMeanDose | Original Cell= | G29 | Old Cell= | G28 | NewCell= | G29
name= | LungMeanDose | Original Cell= | G30 | Old Cell= | G29 | NewCell= | G30
name= | LungV20 | Original Cell= | G31 | Old Cell= | G30 | NewCell= | G31
name= | LungV1160 | Original Cell= | G32 | Old Cell= | G31 | NewCell= | G32
name= | LungV1240 | Original Cell= | G33 | Old Cell= | G32 | NewCell= | G33
name= | AortaMaxDose | Original Cell= | G35 | Old Cell= | G34 | NewCell= | G35
name= | AortaV40 | Original Cell= | G36 | Old Cell= | G35 | NewCell= | G36
name= | PulmonaryArteryMaxDose | Original Cell= | G37 | Old Cell= | G36 | NewCell= | G37
name= | PulmonaryArteryV40 | Original Cell= | G38 | Old Cell= | G37 | NewCell= | G38
name= | SpineMaxDose | Original Cell= | G39 | Old Cell= | G38 | NewCell= | G39
name= | SpineV2080 | Original Cell= | G40 | Old Cell= | G39 | NewCell= | G40
name= | SpineV1360 | Original Cell= | G41 | Old Cell= | G40 | NewCell= | G41
name= | SpinePRV5MaxDose | Original Cell= | G42 | Old Cell= | G41 | NewCell= | G42
name= | IpsBrachPlexMaxDose | Original Cell= | G43 | Old Cell= | G42 | NewCell= | G43
name= | IpsBrachPlexV2360 | Original Cell= | G44 | Old Cell= | G43 | NewCell= | G44
name= | SkinV30 | Original Cell= | G45 | Old Cell= | G44 | NewCell= | G45
name= | HeartMaxDose | Original Cell= | G46 | Old Cell= | G45 | NewCell= | G46
name= | HeartV28 | Original Cell= | G47 | Old Cell= | G46 | NewCell= | G47
name= | EsoMaxDose | Original Cell= | G48 | Old Cell= | G47 | NewCell= | G48
name= | EsoV1880 | Original Cell= | G49 | Old Cell= | G48 | NewCell= | G49
name= | ChestWallMaxDose | Original Cell= | G50 | Old Cell= | G49 | NewCell= | G50
name= | ChestWallV40 | Original Cell= | G51 | Old Cell= | G50 | NewCell= | G51
name= | ChestWallV30 | Original Cell= | G52 | Old Cell= | G51 | NewCell= | G52
name= | ProxTrachMaxDose | Original Cell= | A54 | Old Cell= | A54 | NewCell= | A54
name= | ProxBronchMaxDose | Original Cell= | B54 | Old Cell= | B53 | NewCell= | B54
name= | ProxTrachV1560 | Original Cell= | A55 | Old Cell= | G54 | NewCell= | A55
name= | ProxBronchV1560 | Original Cell= | B55 | Old Cell= | G54 | NewCell= | B55
name= | StomachMaxDose | Original Cell= | G56 | Old Cell= | G55 | NewCell= | G56
name= | StomachV21 | Original Cell= | G57 | Old Cell= | G56 | NewCell= | G57
name= | V105-PTV_ratio | Original Cell= | H21 | Old Cell= | H20 | NewCell= | H21
name= | V100_PTV_ratio | Original Cell= | H22 | Old Cell= | H21 | NewCell= | H22
name= | V50_PTV_ratio | Original Cell= | H25 | Old Cell= | H24 | NewCell= | H25

## EvaluationSheet 48Gy4F 60Gy5F
| NOTE: Must fill in information in YELLOW cells with "??". | [5 empty] | Use the ORIGINAL file for each NEW PLAN or modification
[6 empty] | SABR Plan Evaluation Sheet for 12Gy/fr Schedules (48 Gy in 4F) or (60Gy/5F) | [6 empty] | name | Old Cell | New Cell
[6 empty] | (Tumours located within the lung parenchyma, away from the OAR’s and chest wall) | [6 empty] | Patient | D4 | D4 | $D$4
|  | Patient: |  |  | Prescription Dose (cGy): |  |  |  | Site: |  |  |  | PatientID | D5 | D5 | $D$5
|  | CR#: |  |  | Fractions: |  |  |  | Plan Name: |  |  |  | Site | L5 | L4 | $L$4
| Target/OAR Volumes: | [11 empty] | PlanName | L5 | L5 | $L$5
|  | GTV Volume (cc) | [9 empty] | NOTE: | GTV_Volume | G7 | G7 | $G$7
|  | ITV Volume (cc): | [9 empty] | The spreadsheet is protected so that information/farmula can not be change inadverently. | ITV_Volume | G8 | G8 | $G$8
|  | PTV Volume (cc) | [9 empty] | (There is no password to unprotect the sheet. | PTV_Volume | G9 | G9 | $G$9
|  | Total Lung Volume (cc) | [10 empty] | TotalLungVolume | G10 | G10 | $G$10
| Normalization: |  |  | 100% Dose covers 95% of Target Volume | [8 empty] | Dose | H4 | H4 | $H$4
[6 empty] | Ref Dose (%) / | Calculated Value |  | Protocol | Acceptable | Comments |  | Fractions | H5 | H5 | $H$5
[6 empty] | Ref Volume (cc) |  |  | Requirement |  |  |  | Normalization | G14 | G14 | $G$14
|  | Plan Normalization Value (%) |  |  |  | ?? |  |  | 60%-95% | ?? | See "Prescription" in Eclipse |  | PTV_Min | G16 | G17 | $G$17
|  | Dose @COM-PTV (%) |  |  |  | ?? |  |  | 111.1%-166.7% | ?? | Preferebly <140% |  | PTV_V100 | G17 | G18 | $G$18
| PTV Dose Inhomogeneity: | [11 empty] | PTV_V90 | G18 | G19 | $G$19
|  | PTV- Minimum Dose (%) |  |  |  | ?? |  |  | 60%-95% | ?? |  |  | HighDoseSpillage | G20 | G21 | $G$21
|  | PTV - V100(%) |  |  |  | ?? |  |  | 95% | ?? | PTV (V48Gy) |  | HighDoseSpillageVolume | G21 | G22 | $G$21
|  | PTV - V90 (%) |  |  |  | ?? |  |  | 99% | ?? | PTV (V43.2Gy) |  | LowDoseSpillageLocation | G23 | G24 | $G$24
| HIGH Dose Spillage: | [11 empty] | LowDoseSpillageVolume | G24 | G25 | $G$25
|  | Location | V105% - PTV (cc) = |  |  | ?? | #VALUE! |  | <15% | ?? | Volume of the structure (Dose 105% - PTV), D105% = 50.4 Gy |  | ContralateralLungMeanDose | G28 | G29 | $G$29
|  | Volume | V100% (cc) = |  |  | ?? | #VALUE! |  | <1.2 | ?? | Ratio VD100%/VPTV (On DVH see BODY volume for 100% prescription dose) |  | LungMeanDose | G29 | G30 | $G$30
| LOW Dose Spillage: | [11 empty] | LungV20 | G30 | G31 | $G$31
|  | Location | D³2cm (%) = |  |  | ?? |  |  | #N/A | ?? | Max dose (in %) ³2cm from PTV (structure BODY-(PTV+2cm)), should be £ R50 value in Table 1, MINOR deviation acceptable |  | LungV1160 | G31 | G32 | $G$32
|  | Volume | V50% (cc) = |  |  | ?? | #VALUE! |  | #N/A | #VALUE! | Ratio VD50%/VPTV should be£ R50 value in Table 1, MINOR deviation acceptable |  | LungV1240 | G32 | G33 | $G$33
| DOSE TO OARs |  |  |  |  | Maximum Dose (cGy) | Calculated Value |  | Tolerance |  |  |  | AortaMaxDose | G34 | G35 | $D$27
[6 empty] | / Volume (cc) |  |  | (cGy) / (cc) |  |  |  | AortaV40 | G35 | G36 | $D$28
|  | Lung Dose | [10 empty] | PulmonaryArteryMaxDose | G36 | G37 | $D$29
|  | Mean Dose (contralateral lung) |  |  |  | ?? |  |  |  | ?? |  |  | PulmonaryArteryV40 | G37 | G38 | $D$30
|  | Mean Dose (Total lung) |  |  |  | ?? |  |  |  | ?? |  |  | SpineMaxDose | G38 | G39 | $D$31
|  | V20 (Total Lung) in % |  | V20Gy (%) = |  | ?? |  |  | £10% | ?? | RTOG 0813 and 0236 (Deviations NONE=10%, MINOR=15%) |  | SpineV2080 | G39 | G40 | $D$32
|  | Lung-Basic Function |  | V11.6Gy (cc) = |  | ?? |  |  | 1500 | ?? | V11.6Gy ≤ 1500cc (R or L Lung) |  | SpineV1360 | G40 | G41 | $D$33
|  | Lung-Pneumonitis |  | V12.4Gy (cc) = |  | ?? |  |  | 1000 | ?? | V11.6Gy ≤ 1500cc (R or L Lung) |  | SpinePRV5MaxDose | G41 | G42 | $D$34
|  | Other OARs | [10 empty] | IpsBrachPlexMaxDose | G42 | G43 | $D$35
|  | Aorta |  |  | (max point dose) | ?? |  |  | 4800 | ?? | LUSTRE |  | IpsBrachPlexV2360 | G43 | G44 | $D$36
|  |  | V40Gy £ 10cc |  | V40Gy= | ?? |  |  | 10 | ?? | LUSTRE |  | SkinV30 | G44 | G45 | $D$37
|  | Artery-Pulmonary |  |  | (max point dose) | ?? |  |  | 4800 | ?? | LUSTRE |  | HeartMaxDose | G45 | G46 | $D$38
|  |  | V40Gy £ 10cc |  | V40Gy= | ?? |  |  | 10 | ?? | LUSTRE |  | HeartV28 | G46 | G47 | $D$39
|  | Spinal Canal |  |  | (max point dose) | ?? |  |  | 2600 | ?? | RTOG 0915 |  | EsoMaxDose | G47 | G48 | $D$40
|  |  | V20.8Gy £ 0.35cc |  | V20.8Gy= | ?? |  |  | 0.35 | ?? | RTOG 0915 |  | EsoV1880 | G48 | G49 | $D$41
|  |  | V13.6Gy £ 1.2cc |  | V13.6Gy= | ?? |  |  | 1.2 | ?? | RTOG 0915 |  | ChestWallMaxDose | G49 | G50 | $D$42
|  | Spinal Canal-PRV 5mm |  |  | (max point dose) | ?? |  |  | 2900 | ?? |  |  | ChestWallV40 | G50 | G51 | $D$43
|  | Ipsilat. Brach. Plex. |  |  | (max point dose) | ?? |  |  | 2700 | ?? | LUSTRE |  | ChestWallV30 | G51 | G52 | $D$44
|  |  | V23.6Gy £ 3cc |  | V23.6Gy= | ?? |  |  | 3 | ?? | RTOG 0236 |  | ProxTrachMaxDose | A54 | A54 | $D$45
|  | Skin | V30Gy £ 10cc |  | V30Gy= | ?? |  |  | 10 | ?? | RTOG 0236 |  | ProxBronchMaxDose | B53 | B54 | $D$46
|  | Heart |  |  | (max point dose) | ?? |  |  | 3400 | ?? | RTOG 0915 |  | ProxTrachV1560 | G54 | A55 | $D$47
|  |  | V28Gy £ 15cc |  | V28Gy= | ?? |  |  | 15 | ?? | RTOG 0915 |  | ProxBronchV1560 | G54 | B55 | $D$48
|  | Esophagus |  |  | (max point dose) | ?? |  |  | 3000 | ?? | RTOG 0236 |  | StomachMaxDose | G55 | G56 | $D$49
|  |  | V18.8Gy £ 5cc |  | V18.8Gy= | ?? |  |  | 5 | ?? |  |  | StomachV21 | G56 | G57 | $D$50
|  | *Chestwall (rib) |  |  | (max point dose) | ?? |  |  | 5000 | ?? | LUSTRE |  | V105-PTV_ratio | H20 | H21 | $D$51
|  |  | V40Gy £ 5cc |  | V40Gy= | ?? |  |  | 5 | ?? | LUSTRE |  | V100_PTV_ratio | H21 | H22 | $D$52
|  |  | V30Gy £ 30cc |  | V30Gy= | ?? |  |  | 30 | ?? | RTOG 0915 |  | V50_PTV_ratio | H24 | H25 | $D$53
Trachea | Bronchus | Proximal Trachea |  |  | (max point dose) | ?? |  |  | 3480 | ?? | RTOG 0915
0 | 0 | and Bronchial Tree
0 | 0 |  | V15.6G y£ 4cc |  | V15.6Gy= | ?? |  |  | 4 | ?? | RTOG 0915
|  | Stomach and |  |  | (max point dose) | ?? |  |  | 2800 | ?? | LUSTRE
|  | Intestines | V21Gy £ 1cc |  | V21Gy= | ?? |  |  | 1 | ?? | LUSTRE
|  | Dosimetrist: |  |  |  | Physicist: |  | Radiation Oncologist:
|  | ?? |  |  |  | ?? |  |  | ??
NOTES:
[5 empty] | *NOTE: | Chestwall (including rib) limit may be exceeded if structure lies within PTV
Q:\SBRT\Policy\SABR Plan Evaluation Worksheet 4Dec2013.xls

## Report Reference 48 in 4.txt
reference_type | name | reference_name | reference_laterality | unit | reference_constructor | cell_address | cell_format
Plan Property | Patient: | Patient Name |  |  |  | D4 | General
Plan Property | CR#: | Patient ID |  |  |  | D5 | @
Plan Property | Site: | Body Region |  |  |  | L5 | @
Plan Property | Plan Name: | Plan |  |  |  | L5 | @
Structure | GTV Volume (cc) | IGTV |  | cc | Volume | G7 | 0
Structure | ITV Volume (cc): | ITV |  | cc | Volume | G8 | 0
Structure | PTV Volume (cc) | PTV |  | cc | Volume | G9 | 0
Structure | Total Lung Volume (cc) | Lung | Both | cc | Volume | G10 | 0
Plan Property | Prescription Dose (cGy): | Prescribed dose |  | cGy |  | H4 | General
Plan Property | Fractions: |  |  |  |  | H5 | 0
Plan Property | Plan Normalization Value (%) |  |  | % |  | G14 | 0%
Reference Point | Dose @COM-PTV (%) |  |  | % |  | G15 | 0%
Structure | PTV- Minimum Dose (%) | PTV |  | % | Min Dose | G17 | 0%
Structure | PTV - V100(%) | PTV |  | % | V 4800 cGy | G18 | 0%
Structure | PTV - V90 (%) | PTV |  | % | V 4320 cGy | G19 | 0%
Structure | HIGH Dose Spillage Location | Dose105[%]-PTV |  | cc | Volume | G21 | 0
Structure | HIGH Dose Spillage Volume | Dose 100[%] |  | cc | Volume | G22 | 0
Structure | LOW Dose Spillage Location | Body-PTV+20 |  | % | Max Dose | G24 | 0
Structure | LOW Dose Spillage Volume | Dose 50[%] |  | cc | Volume | G25 | 0
Structure | Contralateral Lung Mean Dose | Lung | Contralateral | cGy | Mean Dose | G29 | 0
Structure | Total Lung Mean Dose | Lung | Both | cGy | Mean Dose | G30 | 0
Structure | Total Lung V20 | Lung | Both | % | V 2000 cGy | G31 | 0%
Structure | Lung-Basic Function | Lung | Both | cc | V 1160 cGy | G32 | 0
Structure | Lung-Pneumonitis | Lung | Both | cc | V 1240 cGy | G33 | 0
Structure | Aorta Maximum Dose | Aorta |  | cGy | Max Dose | G35 | 0
Structure | Aorta V40Gy | Aorta |  | cc | V 4000 cGy | G36 | 0
Structure | Artery-Pulmonary Maximum Dose | PulmonaryArtery |  | cGy | Max Dose | G37 | 0
Structure | Artery-Pulmonary V40Gy | PulmonaryArtery |  | cc | V 4000 cGy | G38 | 0
Structure | Spinal Canal Maximum Dose | Spinal Canal |  | cGy | Max Dose | G39 | 0
Structure | Spinal Canal V20.8Gy | Spinal Canal |  | cc | V 2080 cGy | G40 | 0
Structure | Spinal Canal V13.6Gy | Spinal Canal |  | cc | V 1360 cGy | G41 | 0
Structure | Spinal Canal-PRV 5mm Maximum Dose | PRV5 SpinalCanal |  | cGy | Max Dose | G42 | 0
Structure | Ipsilat. Brach. Plex. Maximum Dose | Ipsilat. Brach. Plex. |  | cGy | Max Dose | G43 | 0
Structure | Ipsilat. Brach. Plex. V23.6Gy | Ipsilat. Brach. Plex. |  | cc | V 2360 cGy | G44 | 0
Structure | Skin V30Gy | Skin |  | cc | V 3000 cGy | G45 | 0
Structure | Heart Maximum Dose | Heart |  | cGy | Max Dose | G46 | 0
Structure | Heart V28Gy | Heart |  | cc | V 2800 cGy | G47 | 0
Structure | Esophagus Maximum Dose | Esophagus |  | cGy | Max Dose | G48 | 0
Structure | Esophagus V18.8Gy | Esophagus |  | cc | V 1880 cGy | G49 | 0
Structure | Chestwall (rib) Maximum Dose | Chest Wall |  | cGy | Max Dose | G50 | 0
Structure | Chestwall (rib) V40Gy | Chest Wall |  | cc | V 4000 cGy | G51 | 0
Structure | Chestwall (rib) V30Gy | Chest Wall |  | cc | V 3000 cGy | G52 | 0
Structure | Proximal Trachea and Bronchial Tree Maximum Dose | PRV20 Brl Tree |  | cGy | Max Dose | G53 | 0
Structure | Proximal Trachea and Bronchial Tree V15.6Gy | ProxBronchialZon |  | cc | V 1560 cGy | G55 | 0
Structure | Stomach and Intestines Maximum Dose | Stomach |  | cGy | Max Dose | G56 | 0
Structure | Stomach and Intestines V21Gy | Stomach |  | cc | V 2100 cGy | G57 | 0
Ratio | V105% - PTV (cc) / PTV Volume (cc) |  |  |  | Ratio | H21 | 0%
Ratio | V100% (cc) / PTV Volume (cc) |  |  |  | Ratio | H22 | 0%
Ratio | V50% (cc) / PTV Volume (cc) |  |  |  | Ratio | H22 | 0%
Plan Property | Dosimetrist:
Plan Property | Physicist:
Plan Property | Radiation Oncologist:

## 54Gy 3F
SABR 54 in 3
name | Old Cell | New Cell
Patient | D4 | D4
PatientID | D5 | D5
Site | L5 | L4
PlanName | L5 | L5
GTV_Volume | G7 | G7
ITV_Volume | G8 | G8
PTV_Volume | G9 | G9
TotalLungVolume | G10 | G10
Dose | H4 | H4
Fractions | H5 | H5
Normalization | G14 | H14
Ref Point |  | G15
PTV_Min | G16 | G17
PTV_V100 | G17 | H18
PTV_V90 | G18 | H19
HighDoseSpillage | G20 | G21
HighDoseSpillageVolume | G21 | G22
LowDoseSpillageLocation | G23 | G24
LowDoseSpillageVolume | G24 | G25
ContralateralLungMeanDose | G28 | G29
LungMeanDose | G29 | G30
LungV20 | G30 | G31
LungV1160 | G31 | G32
LungV1240 | G32 | G33
AortaMaxDose | G34 | G35
PulmonaryArteryMaxDose | G35 | G36
SpineMaxDose | G36 | G37
SpinePRV5MaxDose | G37 | G38
IpsBrachPlexMaxDose | G38 | G39
SkinV30 | G39 | G40
HeartMaxDose | G40 | G41
EsoMaxDose | G41 | G42
ChestWallMaxDose | G42 | G43
ChestWallV2820 | G43 | G44
ChestWallV30 | G44 | G45
ProxTrachMaxDose | G45 | A47
ProxBronchMaxDose | G46 | B47
V105-PTV_PTVratio | H20 | H21
V100_PTV_ratio | H21 | H22
V50_PTV_ratio | H24 | H25
Dosimetrist | G47 | C49
Physicist | G48 | G49
RO | G49 | K49
Notes | G50 | C50

## 54Gy 3F Log
SABR 54 in 3
name= | Patient | Original Cell= | D4 | Old Cell= | D4 | NewCell= | D4
name= | PatientID | Original Cell= | D5 | Old Cell= | D5 | NewCell= | D5
name= | Site | Original Cell= | L4 | Old Cell= | L5 | NewCell= | L4
name= | PlanName | Original Cell= | L5 | Old Cell= | L5 | NewCell= | L5
name= | GTV_Volume | Original Cell= | G7 | Old Cell= | G7 | NewCell= | G7
name= | ITV_Volume | Original Cell= | G8 | Old Cell= | G8 | NewCell= | G8
name= | PTV_Volume | Original Cell= | G9 | Old Cell= | G9 | NewCell= | G9
name= | LungVolume | Original Cell= | G10 | Old Cell= | G10 | NewCell= | G10
name= | Dose | Original Cell= | H4 | Old Cell= | H4 | NewCell= | H4
name= | Fractions | Original Cell= | H5 | Old Cell= | H5 | NewCell= | H5
name= | Normalization | Original Cell= | H14 | Old Cell= | G14 | NewCell= | H14
name= | Ref Point | Original Cell= | G15 | Old Cell= |  | NewCell= | G15
name= | PTV_Min | Original Cell= | G17 | Old Cell= | G16 | NewCell= | G17
name= | PTV_V100 | Original Cell= | H18 | Old Cell= | G17 | NewCell= | H18
name= | PTV_V90 | Original Cell= | H19 | Old Cell= | G18 | NewCell= | H19
name= | HighDoseSpillage | Original Cell= | G21 | Old Cell= | G20 | NewCell= | G21
name= | HighDoseSpillageVolume | Original Cell= | G22 | Old Cell= | G21 | NewCell= | G22
name= | LowDoseSpillage | Original Cell= | G24 | Old Cell= | G23 | NewCell= | G24
name= | LowDoseSpillageVolume | Original Cell= | G25 | Old Cell= | G24 | NewCell= | G25
name= | ContralateralLungMeanDose | Original Cell= | G29 | Old Cell= | G28 | NewCell= | G29
name= | LungMeanDose | Original Cell= | G30 | Old Cell= | G29 | NewCell= | G30
name= | LungV20 | Original Cell= | G31 | Old Cell= | G30 | NewCell= | G31
name= | LungV1160 | Original Cell= | G32 | Old Cell= | G31 | NewCell= | G32
name= | LungV1240 | Original Cell= | G33 | Old Cell= | G32 | NewCell= | G33
name= | AortaMaxDose | Original Cell= | G35 | Old Cell= | G34 | NewCell= | G35
name= | PulmonaryArteryMaxDose | Original Cell= | G36 | Old Cell= | G35 | NewCell= | G36
name= | SpineMaxDose | Original Cell= | G37 | Old Cell= | G36 | NewCell= | G37
name= | SpinePRV5MaxDose | Original Cell= | G38 | Old Cell= | G37 | NewCell= | G38
name= | IpsBrachPlexMaxDose | Original Cell= | G39 | Old Cell= | G38 | NewCell= | G39
name= | SkinV30 | Original Cell= | G40 | Old Cell= | G39 | NewCell= | G40
name= | HeartMaxDose | Original Cell= | G41 | Old Cell= | G40 | NewCell= | G41
name= | EsoMaxDose | Original Cell= | G42 | Old Cell= | G41 | NewCell= | G42
name= | ChestWallMaxDose | Original Cell= | G43 | Old Cell= | G42 | NewCell= | G43
name= | ChestWallV2820 | Original Cell= | G44 | Old Cell= | G43 | NewCell= | G44
name= | ChestWallV30 | Original Cell= | G45 | Old Cell= | G44 | NewCell= | G45
name= | ProxTrachMaxDose | Original Cell= | A47 | Old Cell= | G45 | NewCell= | A47
name= | ProxBronchMaxDose | Original Cell= | B47 | Old Cell= | G46 | NewCell= | B47
name= | V105-PTV_PTVratio | Original Cell= | H21 | Old Cell= | H20 | NewCell= | H21
name= | V100_PTV_ratio | Original Cell= | H22 | Old Cell= | H21 | NewCell= | H22
name= | V50_PTV_ratio | Original Cell= | H25 | Old Cell= | H24 | NewCell= | H25

## EvaluationSheet 54Gy 3F
| NOTE: Must fill in information in YELLOW cells with "??". | [5 empty] | Use the ORIGINAL file for each NEW PLAN or modification | [6 empty] | Cell Reference
[6 empty] | SABR Plan Evaluation Sheet for 18Gy/fr Schedules (54Gy/3F) | [7 empty] | name | label | Old Cell | New Cell | Format | Format Code | Address
[6 empty] | (Tumours located within the lung parenchyma, away from the OAR’s and chest wall) | [7 empty] | Patient | Patient: | D4 | D4 | General | G | $D$4
|  | Patient: | ?? |  | Total Prescr. Dose (cGy): |  | 5400 |  |  | Site: | LUNG |  |  | PatientID | CR#: | D5 | D5 | General | G | $D$5
|  | CR#: | ?? |  | Fracttions: |  | 3 |  |  | Plan Name: | ?? |  |  | Site | Site: | L5 | L4 | General | G | $L$4
| Target/OAR Volumes: | [12 empty] | PlanName | Plan Name: | L5 | L5 | General | G | $L$5
|  | GTV Volume (cc) | [10 empty] | NOTE: | GTV_Volume | GTV Volume (cc) | G7 | G7 | General | G | $G$7
|  | ITV Volume (cc): |  |  |  | ?? | [6 empty] | The spreadsheet is protected so that information/farmula can not be change inadverently. | ITV_Volume | ITV Volume (cc): | G8 | G8 | General | G | $G$8
|  | PTV Volume (cc) |  |  |  | ?? | [6 empty] | (There is no password to unprotect the sheet. | PTV_Volume | PTV Volume (cc) | G9 | G9 | General | G | $G$9
|  | Total Lung Volume (cc) |  |  |  | ?? | [7 empty] | TotalLungVolume | Total Lung Volume (cc) | G10 | G10 | General | G | $G$10
| Normalization: |  |  | 100% Dose covers 95% of Target Volume | [9 empty] | Dose | Total Prescr. Dose (cGy): | H4 | H4 | General | G | $H$4
[6 empty] | ref Dose (cGy or %) / | Calculated/Plan | Calculated |  | Protocol | Acceptable | Comments |  | Fractions | Fracttions: | H5 | H5 | General | G | $H$5
[6 empty] | ref volume (cc) | VALUE |  |  | Requirement |  |  |  | Normalization | Plan Normalization Value (%) | G14 | H14 | 0.0% | P1 | $H$14
|  | Plan Normalization Value (%) |  |  |  | #VALUE! | ?? | FALSE |  | 60%-90% | No | See "Prescription" on Eclipse |  | Ref Point | Dose @COM-PTV (cGy) |  | G15 | 0.0 | F1 | $G$15
|  | Dose @COM-PTV (cGy) |  |  |  | ?? | #VALUE! | #VALUE! |  | 111.1%-166.7% | #VALUE! | Preferebly <140% |  | PTV_Min | PTV- Minimum Dose | G16 | G17 | General | G | $G$17
| PTV Dose Inhomogeneity: | [12 empty] | PTV_V100 | PTV - V100(%) | G17 | H18 | 0.00% | P2 | $H$18
|  | PTV- Minimum Dose |  |  |  | ?? | #VALUE! | #VALUE! |  | 60%-90% | #VALUE! |  |  | PTV_V90 | PTV - V90 (%) | G18 | H19 | 0.00% | P2 | $H$19
|  | PTV - V100(%) |  |  |  | 5400 | ?? |  |  | 95% | Yes | PTV (V54Gy) |  | HighDoseSpillage | V105% - PTV (cc) = | G20 | G21 | General | G | $G$21
|  | PTV - V90 (%) |  |  |  | 4860 | ?? |  |  | 99% | Yes | PTV (V48.6Gy) |  | HighDoseSpillageVolume | V100% (cc) = | G21 | G22 | General | G | $G$22
| HIGH Dose Spillage: | [12 empty] | LowDoseSpillage | D³2cm (%) = | G23 | G24 | General | G | $G$24
|  | Location | V105% - PTV (cc) = |  |  | ?? | #VALUE! |  |  | <15% | #VALUE! | Volume of the structure (Dose 105% - PTV), D105%=56.7Gy |  | LowDoseSpillageVolume | V50% (cc) = | G24 | G25 | General | G | $G$25
|  | Volume | V100% (cc) = |  |  | ?? | #VALUE! |  |  | <1.2 | #VALUE! | Ratio VD100%/VPTV (On DVH see BODY volume for 100% prescription dose) |  | ContralateralLungMeanDose | Mean Dose (contralateral lung) | G28 | G29 | General | G | $G$29
| LOW Dose Spillage: | [12 empty] | LungMeanDose | Mean Dose (Total lung) | G29 | G30 | General | G | $G$30
|  | Location | D³2cm (%) = |  |  | ?? | #VALUE! |  |  | #VALUE! | #VALUE! | Max dose (in %) ³2cm from PTV (structure BODY-(PTV+2cm)), should be £ R50 value (None) in Table 1, MINOR deviation acceptable in rare cases |  | LungV20 | V20 (Total Lung) in % | G30 | G31 | 0.00% | P2 | $G$31
|  | Volume(R50) |  |  | V50% (cc) = | ?? | #VALUE! |  |  | #VALUE! | #VALUE! | Ratio VD50%/VPTV should be£ R50 value (None) in Table 1, MINOR deviation acceptable in rare cases (On DVH see BODY volume for 50% prescription dose) |  | LungV1160 | Lung-Basic Function | G31 | G32 | General | G | $G$32
| DOSE TO OARs |  |  |  |  | Maximum Point | Calculated/Plan |  |  | Tolerance |  |  |  | LungV1240 | Lung-Pneumonitis | G32 | G33 | General | G | $G$33
[6 empty] | Dose (cGy) |  |  |  | Max Dose (cGy)/ volume |  |  |  | AortaMaxDose | Aorta | G34 | G35 | General | G | $G$35
|  | Lung Dose | [11 empty] | PulmonaryArteryMaxDose | Artery-Pulmnory | G35 | G36 | General | G | $G$36
|  | Mean Dose (contralateral lung) |  |  |  | ?? | [7 empty] | SpineMaxDose | Spinal Canal | G36 | G37 | General | G | $G$37
|  | Mean Dose (Total lung) |  |  |  | ?? | [7 empty] | SpinePRV5MaxDose | Spinal Canal-PRV 5mm | G37 | G38 | General | G | $G$38
|  | V20 (Total Lung) in % |  |  | V20Gy (%)= | ?? |  |  |  | #VALUE! | #VALUE! | RTOG 0813 and 0236 (Deviations NONE=10%, MINOR=15%) |  | IpsBrachPlexMaxDose | Ipsilat Brach.Plex | G38 | G39 | General | G | $G$39
|  | Lung-Basic Function |  |  | V11.6Gy= | ?? | V11.6Gy≤1500cc (R or L Lung) |  |  | 1500 | No | R or L Lung volume getting >1160cGy |  | SkinV30 | Skin | G39 | G40 | General | G | $G$40
|  | Lung-Pneumonitis |  |  | V12.4Gy= | ?? | V12.4Gy≤1500cc (R or L Lung) |  |  | 1000 | No | R or L Lung volume getting>1240cGy |  | HeartMaxDose | Heart | G40 | G41 | General | G | $G$41
|  | Other OARs | [11 empty] | EsoMaxDose | Esophagus | G41 | G42 | General | G | $G$42
|  | Aorta |  |  | (max point dose) | ?? |  |  |  | 3000 | No |  |  | ChestWallMaxDose | *Chestwall (rib) | G42 | G43 | General | G | $G$43
|  | Artery-Pulmnory |  |  |  | ?? |  |  |  | 3000 | No |  |  | ChestWallV2820 | V28.2Gy £ 1cc | G43 | G44 | General | G | $G$44
|  | Spinal Canal |  |  | (max point dose) | ?? |  |  |  | 1800 | No | RTOG 0915 |  | ChestWallV30 | V30Gy£ 30cc | G44 | G45 | General | G | $G$45
|  | Spinal Canal-PRV 5mm |  |  |  | ?? |  |  |  | 2000 | No |  |  | ProxTrachMaxDose | Proximal Trachea | G45 | A47 | General | G | $A$47
|  | Ipsilat Brach.Plex |  |  | (max point dose) | ?? |  |  |  | 2400 | No | RTOG0236 |  | ProxBronchMaxDose | and Bronchial Tree | G46 | B47 | General | G | $B$47
|  | Skin | V30Gy£10cc |  | V30Gy= | ?? |  |  |  | 10 | No | RTOG0236 |  | Dosimetrist | Dosimetrist: | G47 | C49 | General | G | $C$49
|  | Heart |  |  | (max point dose) | ?? |  |  |  | 3000 | No | RTOG0915 |  | Physicist | Physicist: | G48 | G49 | General | G | $G$49
|  | Esophagus |  |  | (max point dose) | ?? |  |  |  | 2700 | No | RTOG0236 |  | RO | Radiation Oncologist: | G49 | K49 | General | G | $K$49
|  | *Chestwall (rib) |  |  | (max point dose) | ?? |  |  |  | 3480 | No | RTOG 0915 |  | Notes | NOTES: | G50 | C50 | General | G | $C$50
|  |  | V28.2Gy £ 1cc |  | V28.2Gy= | ?? |  |  |  | 1 | No | RTOG0915 |  | V105-PTV_PTVratio |  | H20 | H21 | 0.00% | P2 | $H$21
|  |  | V30Gy£ 30cc |  | V30Gy= | ?? |  |  |  | 30 | No |  |  | V100_PTV_ratio |  | H21 | H22 | 0.000 | F3 | $H$22
Trachea | Bronchus | Proximal Trachea |  |  | (max point dose) | ?? |  |  |  | 3000 | No | RTOG0915 |  | V50_PTV_ratio |  | H24 | H25 | 0.00 | F2 | $H$25
0 | 0 | and Bronchial Tree
|  | Dosimetrist: |  |  |  | Physicist: |  |  | Radiation Oncologist:
|  | ?? |  |  |  | ?? |  |  |  | ??
NOTES:
[5 empty] | *NOTE: | Chestwall (including rib) limit may be exceeded if structure lies within PTV
Q:\SBRT\Policy\SABR Plan Evaluation Worksheet 4Dec2013.xls
Draft Only

## CELL format codes
CELL format codes
Code | Format Text
G | General
F0 | 0
F1 | 0.0
F2 | 0.00
F3 | 0.000
,0 | #,##0
,2 | #,##0.00
C0 | $#,##0_);($#,##0)
C0- | $#,##0_);[Red]($#,##0)
C2 | $#,##0.00_);($#,##0.00)
C2- | $#,##0.00_);[Red]($#,##0.00)
P0 | 0%
P1 | 0.0%
P2 | 0.00%
S2 | 0.00E+00
G | # ?/? or # ??/??
D4 | m/d/yy or m/d/yy h:mm or mm/dd/yy
D1 | d-mmm-yy or dd-mmm-yy
D2 | d-mmm or dd-mmm
D3 | mmm-yy
D5 | mm/dd
D7 | h:mm AM/PM
D6 | h:mm:ss AM/PM
D9 | h:mm
D8 | h:mm:ss

## xml cell values
SABR 48 in 4 |  | SABR 60 in 8 |  | SABR 54 in 3
name | Cell | name | Cell | name | Cell
Patient | D4 | Patient | D4 | Patient | D4
PatientID | D5 | PatientID | D5 | PatientID | D5
Site | L5 | Site | L4 | Site | L4
PlanName | L5 | PlanName | L5 | PlanName: | L5
GTV_Volume | G7 | GTV_Volume | G7 | GTV_Volume | G7
ITV_Volume | G8 | ITV_Volume | G8 | ITV_Volume | G8
PTV_Volume | G9 | PTV_Volume | G9 | PTV_Volume | G9
TotalLungVolume | G10 | LungVolume | G10 | LungVolume | G10
Dose | H4 | Dose | H4 | Dose | H4
Fractions | H5 | Fractions | H5 | Fractions | H5
Normalization | G14 | Normalization | G14 | Normalization | G14
PTV_Min | G16 | PTV_Min | G15 | PTV_Min | G16
PTV_V100 | G17 | PTV_Min | G16 | PTVV100 | G17
PTV_V90 | G18 | PTVV100 | G17 | PTVV90 | G18
HighDoseSpillage | G20 | PTVV90 | G18 | HighDoseSpillage | G20
HighDoseSpillageVolume | G21 | High_Dose_Spillage | G20 | HighDoseSpillageVolume | G21
LowDoseSpillage | G23 | High_Dose_SpillageVolume | G21 | LowDoseSpillage | G23
LowDoseSpillageVolume | G24 | LowDoseSpillage | G23 | LowDoseSpillageVolume | G24
ContralateralLungMeanDose | G28 | LowDoseSpillageVolume | G24 | ContralateralLungMeanDose | G28
LungMeanDose | G29 | ContralateralLungMeanDose | G28 | LungMeanDose | G29
LungV20 | G30 | LungMeanDose | G29 | LungV20 | G30
LungV1160 | G31 | LungV20 | G30 | AortaMaxDose | G32
LungV1240 | G32 | AortaMaxDose | G32 | AortaV60 | G33
AortaMaxDose | G34 | AortaV60 | G33 | PulmonaryArteryMaxDose | G34
AortaV40 | G35 | PulmonaryArteryMaxDose | G34 | PulmonaryArteryV60 | G35
PulmonaryArteryMaxDose | G36 | PulmonaryArteryV60 | G35 | SpineMaxDose | G36
PulmonaryArteryV40 | G37 | SpineMaxDose | G36 | IpsBrachPlexMaxDose | G37
SpineMaxDose | G38 | IpsBrachPlexMaxDose | G37 | IpsBrachPlexV30 | G38
SpineV2080 | G39 | IpsBrachPlexV30 | G38 | HeartMaximumDose | G39
SpineV1360 | G40 | HeartMaxDose | G39 | HeartV60 | G40
SpinePRV5MaxDose | G41 | HeartV60 | G40 | MaxDose | G41
IpsBrachPlexMaxDose | G42 | EsoMaxDose | G41 | ChestWallMaxDose | G42
IpsBrachPlexV2360 | G43 | ChestWallMaxDose | G42 | ChestWallV50 | G43
SkinV30 | G44 | ChestWallV50 | G43 | ProxTrachMaxDose | A44
HeartMaxDose | G45 | ProxTrachMaxDose | A44 | ProxBronchMaxDose | B44
HeartV28 | G46 | ProxBronchMaxDose | B44 | ProxTrachV60 | A45
EsoMaxDose | G47 | ProxTrachV60 | A45 | ProxBronchV60 | B45
EsoV1880 | G48 | ProxBronchV60 | B45 | StomachMaxDose | G46
ChestWallMaxDose | G49 | StomachMaxDose | G46 | Stomach and Intestines V36Gy | G47
ChestWallV40 | G50 | StomachV36 | G47 | V105-PTV_PTVratio | H20
ChestWallV30 | G51 | V105- PTV_PTV_ratio | H20 | V100_PTV_ratio | H21
ProxTrachMaxDose | A54 | V100_PTV_ratio | H21 | V50_PTV_ratio | H24
ProxBronchMaxDose | B53 | V50_PTV_ratio | H24 | Dosimetrist
ProxTrachV1560 | G54 | Dosimetrist: |  | Physicist
ProxBronchV1560 | G54 | Physicist |  | RO
StomachMaxDose | G55 | RO
StomachV21 | G56
V105-PTV_ratio | H20
V100_PTV_ratio | H21
V50_PTV_ratio | H24
Dosimetrist
Physicist
RO